## Sheet2
BoQ for Street solar light installation in Berdale, Bay region
SN# | Description | Quantity | Unit | Unit Cost (US$) | Total Amount (US$)
1 | BRP310 LED LAMP 60/CW 57W 12V MB 12 Nd-0.5d/0 street lighting Luminaire | 1 | No |  | 0
2 | 200 W 17.5V Solar Panel sub-system | 1 | item |  | 0
3 | 150AH/12V IP68 Battery Subsystem lead crystal (Gel) battery, which possesses long cycle life time and delivers longest deep discharge efficiency, c/w anti- | 1 | Item |  | 0
4 | Theft and anti-vandalism underground enclosure.
5 | GEN1+ Charge controller sub-system: Solar charge controller complete set has to automatic switch ON/OFF with Timer during Dusk to Dawn operation, automoni forno sun shine days | 1 | Item |  | 0
6 | 8 metre heavy gauge galvanized flood light pole complete with mounting brackets for the Solar Panel and the street lighting luminaire | 1 | Item |  | 0
Construction Works on the Solar Street Lighting System
7
8 | Allow for installation, civil works and concrete encasing Installation Cost including fixation,digging foundation holes 1.50 m deep ,RCC foundation concrete and crane hiring for Metal pole lifting and installation Solar Metal pole and also construction of 1m hight concrete wall above the ground and arround the metal pole to support metal pole from the collapse as per instruction  Digging of pole foundation pit size (18”x18”x 4 feet depth) with necessary civil work (Concreting with PCC 1:4:8 for foundation of pole)  Assembly and fixing of solar module on top of GI Pole with South face & LED Luminaire, Battery and Electrical Connections  Conduits, connection boxes, controls, wires, connectors, clamps, bolts, and connecting the cables | 1 | Item |  | 0
9 | Transportation cost | 1 | Sum |  | 0
10 | Testing and commissioning | 1 | sum |  | 0
Total Street solar light installation |  |  |  |  | 0
Grand Total Street Solar light installation in IDPs Berdale |  | 10 | No |  | 0