## HAND-WASHING
CONSTRUCTION OF GROUP HAND-WASHING FACILITY HAWL-WADAAG PRIMARY SCHOOL IN BAIDOA
ITEM | DESCRIPTION |  | UNIT | QNTY | RATE US$ | AMOUNT US$
PROPOSED GROUP HANDWASHING FACILITY
HAWL-WADAAG PRIMARY SCHOOL IN BAIDOA, DISTRICT
SECTION 1: GROUP HANDWASHING FACILITY
ELEMENT NO. 1 : SITE PREPARATION
A | Clear site of all bushes and debris. Grab up roots and |  | m2 | 25 |  | 0
burn the arisings
B | Load, wheel and cart deposit and spread surplus excavated
material where directed on site at a distance not exceeding
| 100 meters |  | Item | 1 |  | 0
| Total carried to summary |  | $ |  |  | 0
PROPOSED GROUP HAND-WASHING FACILITY
HAWL-WADAAG PRIMARY SCHOOL IN BAIDOA, DISTRICT
SECTION 1: GROUP HANDWASHING FACILITY
ELEMENT NO. 2 : SUBSTRUCTURES (PROVISIONAL)
A | Excavations including maintaining and supporting sides
and keeping free from water, mud and fallen material
B | Top soil excavation average 200mm deep |  | m3 | 1.2 |  | 0
C | Excavation of foundation bed of the handwashing groups slab 3m
| legth,2m width and 0.6m depth |  | m3 | 3.6 |  | 0
Hardcore or other approved filling, as described
D | 300mm thick well compacted hardcore filling blinded with
| 25mm thick quarry dust layer to receive surface bed |  | m2 | 6 |  | 0
E | 50mm thick Quarry dust blinding to surfaces of hardcore :rolled
| smooth to receive polytheen sheeting (m.s) |  | m2 | 6 |  | 0
| Total carried to summary |  | $ |  |  | 0
PROPOSED GROUP HANDWASHING FACILITY
HAWL-WADAAG PRIMARY SCHOOL IN BAIDOA, DISTRICT
SECTION 1: GROUP HANDWASHING FACILITY
ELEMENT NO. 3 : CONCRETE WORKS
Plain concrete class 15 in:
A | Construction of 10cm thick plain cement concrete of 1:3:6
| Mixing ration over the hardcore layer |  | m3 | 0.6 |  | 0
B | Concrete slab of 100mm thick over the
constructed masonry solid blocks. The concrete mortar should .
| be 1:2:4 mixing ratio |  | m3 | 0.375 |  | 0
| Total carried to summary |  | $ |  |  | 0
PROPOSED GROUP HANDWASHING FACILITY
HAWL-WADAAG PRIMARY SCHOOL IN BAIDOA, DISTRICT
SECTION 1: GROUP HANDWASHING FACILITY
ELEMENT NO. 4 : WALLING
SUPER-STRUCTURE WALLING
A | 200x400mm Solid block walling bedded
and jointed with cement sand
mortar 1:4 proportion ratio. Face wall should be in plumb.
Corner cement block should be good dressed and jointed to
| correct angles. All gaps in between cement blocks should be filled |  | m2 | 3.96 |  | 0
with cement sand mortar well mixed .
| Total carried to summary |  | $ |  |  | 0
PROPOSED GROUP HANDWASHING FACILITY
HAWL-WADAAG PRIMARY SCHOOL IN BAIDOA, DISTRICT
SECTION 1: GROUP HANDWASHING FACILITY
ELEMENT NO. 5 : FINISHES
A | Construction of external plastering, 25mm thick, for all constructed
| wall surfaces by cement / sand mix 1:5, with wood float finish. |  | m2 | 7.92 |  | 0
B | Floor tiles and Wall tiles
300x300 x 8mm thick wall tiles with white color as approved, jointed
| and bedded with cement and sand mortal (1:3) as directed by engineer |  | m2 | 20.56 |  | 0
C | Supply and installation it required all pipes for hand washing, the price includes
all type of taps, bends, elbows, tees, and laying metallic plastic tracer tape
to connect all as noted above, described in the Specifications and as shown
| on the detailed drawings and as directed by the Engineer. |  | Ls | 1 |  | 0
| Excavate pit in any material 1200x1200x1200mm deep commencing at |  | m3 | 1.872 |  | 0
oversite level and spread excavated material around the structures.
price include construction hallow blocks and concrete cover.
| Total carried to summary |  | $ |  |  | 0
PROPOSED GROUP HANDWASHING FACILITY
HAWL-WADAAG PRIMARY SCHOOL IN BAIDOA, DISTRICT
SECTION 1: GROUP HANDWASHING FACILITY
MAIN SUMMARY
| No. | ELEMENT |  | PAGE
| 1 | ELEMENT NO. 1 : SITE PREPARATION |  | 5/1 |  | 0
| 2 | ELEMENT NO. 2 : SUBSTRUCTURES (PROVISIONAL) |  | 5/2 |  | 0
| 3 | ELEMENT NO. 3 : CONCRETE WORKS |  | 5/3 |  | 0
| 4 | ELEMENT NO. 4 : WALLING |  | 5/4 |  | 0
| 5 | ELEMENT NO. 5 : FINISHES |  | 5/5 |  | 0
| GRAND TOTAL FOR GROUP HANDWASHING FACILITY |  |  |  |  | 0

## REHAB 7 LATRINES
ITEM NO. | DESCRIPTION | UNIT | QUANTITY | RATE (US$) | AMOUNT (US$)
GRANT NO.
PROPOSED-CONSTRUCTION OF HAWL-WADAAG PRIMARY SCHOOL IN BAIDOA
SECTION 3: Rehabilitation of Seven Latrines.
1 | Over laying 30mm sement/ seived sand morter of 1:3 mixture and cement screed with smooth metal trowel for floor finish. as instructed by the Engineer | Ls | 1 |  | 0
2 | Carefully remove plaster on the crack of external and internal walls and repair by filling the crackes and hack offs with crushed stones and Y6 bars then plaster with good cement/sand mortar (1:3) mix ratio.as directed by the Engineer | Ls | 1 |  | 0
0
0
3 | Supply & apply minimum 2 coats of colored emulsion paint(or approved color) on the internal and external walls. The work shall also include removing the damaged old paints, cleaning, preparation of surface , and all required works. As directed and approved by Engineer. | Ls | 1 |  | 0
4 | Repair with damaged timber Doors and vent blocks, The work shall include handle locks, painting with approved paints, as directed by Engineer. | No | 5 |  | 0
5 | Repair and remove stones with seven latrines, sewage hols to pit latines as directed by Engineer. | Ls | 1 |  | 0
6 | Repair and remove damaged roofing and Reroofing with 28 guage Iron corrugated sheets and timber roof trusses c/c 1.0m. The work shall painting if needed as per Instruction Engineer. | SM | 1.9 |  | 0
| Construction of privancy wall 7x2 legnth and height respectively with hollow blocks, including plastering and painting, internal and external finishing, as per Instruction Engineer. | Ls | 1 |  | 0
| Supply and install with Poly Propylene (PPR) pipes 1/2", for potable water network. The work include all tees, bends, and all related work accessories and fittings, connection pipes for latrines and hand-washing from water tank, As directed and approved Engineer. | Ls | 1 |  | 0
7 | Visibility for both Donar logo and ADRA logo as directed by Engineer. | Ls | 1 |  | 0
| GRAND SUMMARY |  |  |  | 0

## GRAND SUMMARY
ITEM NO. | DESCRIPTION | PAGE | AMOUNT (US$)
GRANT NO.
PROPOSED-CONSTRUCTION AND REHABILITATION OF HAWL-WADAAG PRIMARY SCHOOL.
GRAND SUMMARY
1 | CONSTRUCTION OF GROUP HAND WASHING STATION. | 1/3 | 0
2 | REHABILITATION OF SEVEN LATRINES | 2/3 | 0
| TOTAL AMOUNT CARRIED TO FORM OF TENDER | US$ | 0
SIGNED:
(CONTRACTOR) ……………………………………………………………………………
Address: …………………………………………………………………………………………
Tel No: ……………………………………………………………………………………………
Date: ………………………………………………………………………………………………
SIGNED: