## Cost Comparison (2) (hidden)
BILLS OF QUANTITIES
Cost Comparison Between the Orginal BOQ and Reviewed BOQ
S/No. | GRAND SUMMARY | Curr. | AMOUNT( USD) In the Original BOQ | AMOUNT( USD) in the Reviewed document | Difference | Remarks/Notes on the Varied costs
1 | Preliminaries | USD | 8000 | 10000 | 2000 | There will be insurance and freight costs for imported materials bringing to increase in the prelimiary costs
2 | Intake, Surface Pump & Solar System | USD | 7500 | 113065 | 105565 | The reviewed amount included surface pump and solar system which were left out of the original BOQ
3 | Raw water line | USD | 10500 | 14061.2 | 3561.2 | Estimated costs took into consideration the market prices of HDPE pipes which were left out of the original BOQ
4 | Composite Filtration Unit (CFU) | USD | 57000 | 52710 | -4290 | The variation is 8% which is less that 10% acceptable percentage therefore OK
5 | Rising mains, Surface pump & Solar System | USD | 25874 | 122791 | 96917 | The reviewed amount included surface pump and solar system which were not considered in the original BOQ
6 | Distribution-Goobsweiyn & Smart tap installation | USD | 24500 | 38219.725 | 13719.725 | The increase is attribued to the inclusion of distribution lines to water points and smart taps which were not captured in the original BOQ
7 | Distribution-Luglow & Smart Tap Installation | USD | 13450 | 19186.525 | 5736.525 | The increase is attribued to the inclusion of distribution lines to water points and smart taps which were not captured in the original BOQ
8 | Distribution-Qam Qam & Smart Tap Installation | USD | 9400 | 20130.175 | 10730.175 | The increase is attribued to the inclusion of distribution lines to water points and smart taps which were not captured in the original BOQ
9 | Storage Tanks -2 No: 100CM Clear water Tank & 100CM Elevated Tank | USD | 27500 | 78525.1547 | 51025.1547 | Estimated costs took into consideration of the market prices from reputable Steel tank fabricating companies of Elevated Steel Tanks, the cost difference is also brough about by inclusion of civil works for the Steel Tower
10 | EWT 50CM Backwash | USD | 27500 | 41052.11 | 13552.11 | See above comment
11 | Guard House/ Pump House | USD | 16500 | 6211 | -10289 | The Original Quote was over estimated given the guard house is only 11.5SM. The reviewed estimate provides for a standard finish. The Current average construction cost in Somalia is between US $ 500-550 per square meter.
12 | Site and Auxuliary works | USD | 6500 | 0 | -6500 | This Item was removed from the reviewed BOQ as it was already captured elsewhere under Lumpsome mobilization & Demobilization costs
| Total US $ | USD | 234224 | 515951.8897 | 281727.8897
| Contigency ( 5% of Total) | USD | 11711.2 | 0 | -11711.2 | Contigency costs was captured in the BOQ and therefore not necessary to capture separately.
| GRAND TOTAL | USD | 245935.2 | 515951.8897 | 270016.6897

## Cost Comparison (hidden)
BILLS OF QUANTITIES
Cost Comparison Between the Orginal BOQ and Reviewed BOQ
S/No. | GRAND SUMMARY | Curr. | AMOUNT( USD) In the Original BOQ | AMOUNT( USD) in the Reviewed document | Difference | Remarks/Notes on the Varied costs
1 | Preliminaries | USD | 8000 | 10000 | 2000 | There will be insurance and freight costs for imported materials bringing to increase in the prelimiary costs
2 | Intake, Surface Pump & Solar System | USD | 7500 | 113065 | 105565 | The reviewed amount included surface pump and solar system which were left out of the original BOQ
3 | Raw water line | USD | 10500 | 14061.2 | 3561.2 | Estimated costs took into consideration the market prices of HDPE pipes which were left out of the original BOQ
4 | Composite Filtration Unit (CFU) | USD | 57000 | 52710 | -4290 | The variation is 8% which is less that 10% acceptable percentage therefore OK
5 | Rising mains, Surface pump & Solar System | USD | 25874 | 122791 | 96917 | The reviewed amount included surface pump and solar system which were not considered in the original BOQ
6 | Distribution-Goobsweiyn & Smart tap installation | USD | 24500 | 38219.725 | 13719.725 | The increase is attribued to the inclusion of distribution lines to water points and smart taps which were not captured in the original BOQ
7 | Distribution-Luglow & Smart Tap Installation | USD | 13450 | 19186.525 | 5736.525 | The increase is attribued to the inclusion of distribution lines to water points and smart taps which were not captured in the original BOQ
8 | Distribution-Qam Qam & Smart Tap Installation | USD | 9400 | 20130.175 | 10730.175 | The increase is attribued to the inclusion of distribution lines to water points and smart taps which were not captured in the original BOQ
9 | Storage Tanks -2 No: 100CM Clear water Tank & 100CM Elevated Tank | USD | 27500 | 78525.1547 | 51025.1547 | Estimated costs took into consideration of the market prices from reputable Steel tank fabricating companies of Elevated Steel Tanks, the cost difference is also brough about by inclusion of civil works for the Steel Tower
10 | EWT 50CM Backwash | USD | 27500 | 41052.11 | 13552.11 | See above comment
11 | Guard House/ Pump House | USD | 16500 | 6211 | -10289 | The Original Quote was over estimated given the guard house is only 11.5SM. The reviewed estimate provides for a standard finish. The Current average construction cost in Somalia is between US $ 500-550 per square meter.
12 | Site and Auxuliary works | USD | 6500 | 0 | -6500 | This Item was removed from the reviewed BOQ as it was already captured elsewhere under Lumpsome mobilization & Demobilization costs
| Total US $ | USD | 234224 | 515951.8897 | 281727.8897
| Contigency ( 5% of Total) | USD | 11711.2 | 0 | -11711.2 | Contigency costs was captured in the BOQ and therefore not necessary to capture separately.
| GRAND TOTAL | USD | 245935.2 | 515951.8897 | 270016.6897

## Cover Page
REHABILITATION WORKS AT MOE OFFICES AND GAHAYR INSTITUTE IN MOGADISHU, BANADIR
BILL OF QUANTITIES (BOQ)
Contents
* Cover Page
* Preamble
* Grand Summary
*Detailed Bill of Quantity (BoQ)

## PREAMBLE
PREAMBLE TO BILLS OF QUANTITIES (BOQs)
REHABILITATION WORKS AT MOE OFFICES AND GAHAYR INSTITUTE IN MOGADISHU, BANADIR
PREAMBLE TO BILLS OF QUANTITIES (BoQs)
1 | Objectives:
The objectives of the Bill of Quantities (BoQs) are:
(a) to provide sufficient information on the quantities of Works to be performed to enable bids to be prepared efficiently and accurately; and
(b) when a Contract has been entered into, to provide a priced Bill of Quantities (BoQs) for use in the periodic valuation of Works executed.
In order to attain these objectives, Works have been itemized in the Bill of Quantities (BoQs) in sufficient detail to distinguish between the different classes of Works, or between Works of the same nature carried out in differently or in other circumstances which may give rise to different considerations of cost.
2 | The Bills of Quantities (BoQs) for the Works comprise the following:
Preamble to Bill of Quantities
List of principal Quantities
Grand Summary
3 | The Contractor’s unit rates in these bills are to cover supplying of materials, taking delivery, transporting, loading and off loading inspection, storage, stacking, landing, preparation, installation including provision of all labor, requirement false work, temporary support, surface preparation and testing of the works. The rates shall include all applicable taxes and duty. The cost of testing of the materials to be used in the works unless otherwise provided is to be included in the rates of the respective Bill items.
4 | Measurement for payment shall be for the complete installation and having passed all necessary tests.
5 | Work shall not be executed on a Day Work Basis unless ordered in writing by the Contractor on approval by the Employer. The rates entered in the Day works Bill of Quantities (BoQs) shall apply to any quantity of Day Work instructed by the Engineer. Nominal quantities have been indicated against each item to permit the extended total to be carried forward to the Grand Summary.
6 | “Rates and prices shall be inserted in the rate and total columns of the Bill of Quantities (BoQs) in US$
7 | Bills of Quantities (BoQs) are to be read in conjunction with the Instructions to Bidders, the Conditions of Contract Data, the Specifications and the Drawings. The quantities stated against each item in the Bills of Quantities (BoQs), with the exception of those items specifically marked ‘SUM’, are the estimated quantities of the Work to be executed by the Contractor in fulfillment of his/her obligations under the Contract.
8 | The Contractor is required to check the number of the pages and should any be found to be missing or in duplicate he must inform the Engineer at once and have the same rectified.
9 | No liability whatever will be admitted or claim allowed in respect of errors in the Contractor’s tender due to mistakes in the Bills of Quantities (BoQs) which should have been rectified in the manner described above.
10 | The contractor shall not alter or otherwise qualify the text of these Bills of Quantities (BoQs). Any alteration or qualification made without authority will be ignored and the text of the Bills of Quantities (BoQs) as printed will be adhered to.
11 | Each item in the Bills of Quantities (BoQs) is to be priced. If any items are left un-priced it will be assumed that the value of the work described there under is elsewhere allowed for. The prices and rates to be inserted in the Bills of Quantities (BoQs) are to be fully inclusive of all costs and expenses which may be required for the construction of the work described, together with general risks, liabilities and obligations set forth or implied in these documents.
12 | In no case will any claim for expenses incurred by the Contractor in preparation of this Tender be allowed.
13 | The Contractor is solely responsible for the accurate ordering of materials in accordance with the Specifications, Drawings and Engineer’s Instructions and no claim for any loss or expense will be entertained for orders for materials based on the Bills of Quantities (BoQs).
14 | The quantities given in the Bills of Quantities (BoQs) are estimated and no claim by the Contractor for the final quantities being larger or smaller than the quantities given in the Bills of Quantities (BoQs) will be permitted.
15 | The dimensions given in the Drawings are generally in millimeters unless otherwise indicated. Levels are given in meters.
16 | The term ‘provide’ or ‘supply’ used for any item shall be deemed to include transport to site, handling, storage and fixing complete, and the Bidder’s rate shall include for this.
17 | The following abbreviations might have been used in the Bills of Quantities (BoQ) and shall be interpreted as:
| kg | kilogram
| t | tonne
| m | meter
| m2 | square meter
| m3 | cubic meter
| mm | millimeter
| Nr. | Number
| USD | United States Dollar
| uPVC | un-plasticized poly vinyl chloride
| HDPE | high density polyethylene
| GMS | galvanized mild steel
| LS | Lump Sum
| PS | Provisional Sum
General Items
18 | Unless otherwise provided there are no separate measurement items for Contractual requirements. The Contractor is deemed to have included his costs for the Contractual requirement

## GRAND SUMMARY
BILLS OF QUANTITIES
REHABILITATION WORKS AT MOE OFFICES AND GAHAYR INSTITUTE IN MOGADISHU, BANADIR
LOT | GRAND SUMMARY | Curr. | AMOUNT
1 | LOT 1: The MoECHE Office Security Enhancement | USD | 0
| Total for LOT 1 |  | 0
| LOT 2: Renovation of Gaheyr Teachers Training College (TTC) |  | 0
2 | i. Banadir-G+1 dinning, office & Kitchen | USD | 0
2 | ii. G+1 Rehab of 22 classrooms and general rehab works | USD | 0
| Total for LOT 2 |  | 0

## L1-Security Enhancement MOE Mog
Concern Worldwide
BID SCHEDULE
PROPOSED REHABILITATION OF SECURITY WALL AT MOE OFFICES, MOGADISHU - SOMALIA
Location: Mogadishu, Banadir
ITEM | DESCRIPTION | QTY | UNIT | BID UNIT RATE | AMOUNT (USD)
Demolition of Old wall, Construction of New wall, Construction of security screening room, Constructiion of 2 toilets , and construction of Four Watch Towers
Perimeter wall
Notes: The contractor is reminded to visit the site before filling the Request for Quotation to ascertain the extent of the conditions of site. All quantified works in the Request for Quatation are provisional and payment shall be made based on the actual work executed at the site and agreed upon by all parties. The contractor is advised to constantly seek the Engineer instructions at each phase of the work and if required, before filling the Request for Quotation. All unit rate shall be deemed to include all elements of supplying and construction work that is labour and other overheads eg security, profit and overheads, cost of materials, wastages, transport etc.
EXCAVATION AND EARTHWORKS
1 | Demolition works of the Old wall :
Notes: The items of demolitions and removal shall include shoring making good disturbed areas to match existing and loading and carting away debris unless otherwise specified
Concret works:
a | Columns
1.01 | Carefully demolish existing Foundations, columns and bases complete with and including steel reinforcements andcard away debries | 18.75 | CM |  | 0
b | Walling
1.02 | Carefully demolish existing 200mmm thick solid concrete block, masonry walling plastered and painted both sides | 1080 | SM |  | 0
| SUB-TOTAL 1 DEMOLITION |  |  |  | 0
2 | Construction of New wall
a | Excavations
2.01 | Excavate oversite to remove vegetable soil average 150 mm deep ; wheel and deposit on site n.e. 100 M away in permanent spoil heaps | 720 | SM |  | 0
2.02 | Bulk excavation of oversite to reduce levels depth n.e. 1.5 M deep for the foundation wall , leghth 236meters, width 1meter, starting from existing ground level | 354 | CM |  | 0
2.03 | Bulk excavation of oversite to reduce levels depth n.e. 1.8 M deep for the for 72N.o. Column base , leghth 1600mmx 1600mm starting for mthe existing ground level. | 331.776 | CM |  | 0
2.04 | Bulk excavation of oversite to reduce levels depth n.e. 1.8 M deep for 8No. expansion joint 2000mmx2000mm starting from existing ground level | 57.6 | CM |  | 0
| Sub Total Excavation works |  |  |  | 0
b | Concrete work in substructure & super structure
Concrete work in Sub structure
i. | Plain concrete class 15/20 (mix 1:3:6) blinding
2.05 | 50mm Thick surface blinding under strip foundation for the walling | 11.8 | CM |  | 0
2.06 | Ditto; under 72No. column base measuring 1600mmx1600mm | 9.216 | CM |  | 0
2.07 | Ditto; under 8No. expansion joint bases meashuring 2000mmx2000mm | 1.6 | CM |  | 0
Class 30/20 mm ( 1:1:2 )
2.08 | Column Base (72.No.) meashuring 1600mmx1600mm with a depth of 300mm | 55.296 | CM |  | 0
2.09 | Ditto; Column Base for the expansion joint (8.No.) meashuring 2000mmx2000mm with a depth of 300mm | 9.6 | CM |  | 0
2.1 | Ditto; Wall base with a toe | 51.92 | CM |  | 0
Concrete works in Super stucture, Class 30/20 (1:1:2)
2.11 | Column from the column base measuring 200mmx200mm with I height of 4.675meters (72No.) | 13.464 | m3 |  | 0
2.12 | Column from the column base measuring 200mmx200mm with I height of 4.675meters (8No.) | 2.992 | m3 |  | 0
2.13 | Concrete Walling | 280.54 | m3 |  | 0
2.14 | Concrete wall capping on the top of Walling and columns | 360 | LM |  | 0
| Subtotal Concrete works |  |  |  | 0
c | Reinforcement and formwork | 0
| High tensile steel reinforcement to B.S. 4461 in structural concrete work including cutting, bending, hoisting, fixing, tying wire and spacing blocks | 0
2.15 | 8 mm diameter bars-Colums | 800.6388 | kg |  | 0
2.16 | 12mm Diameter -Column | 2765.1078 | kg |  | 0
2.17 | 12mm Diameter -Walling | 14591.79 | kg |  | 0
2.18 | 8 mm diameter bars-Walling | 6634.9572 | kg |  | 0
2.19 | 12mm Diameter - Foundation walling | 4123.0236 | kg |  | 0
2.2 | 8 mm diameter bars-Foundation walling | 3792.0948 | kg |  | 0
Sawn formwork to:-
| Formwork for base, colum and walling | 724 | sm |  | 0
| Sub Total Reinforcement and formwork |  |  |  | 0
d | Installation of Exit door, Sliding Gate and Boom Gate
i. | DOORS
2.21 | Steel Door Standard steel casement door ovaral size comprising 2100x900 with 6mm thick mild steel primed with red oxide complete with hinges, stays, fasteners, permanent vent with mosquito gauze and sheet metal hood etc assembled and fixed to opening including cutting and pinning lugs to concrete work surround and bedding frame in cement and sand mortar (1:4) ( One door at the entry of security screening room and the other on the Emergency exit) | 2 | no |  | 0
ii. | Sliding Gate
2.22 | Sliding Gate 5m length and 3meters height 6mm steel plan. :rate shall include painted one primer coat and two oil coats at least, Wally switch type lock, iron mongery and all needed parts, fittings and accessories, suspended.The unit rate shall also include all needed workmanship ,equipment, materials, concrete B250,plates, rails ...etc necessary to have operational gate and completed job .The work shall be done all as specification.(vertical gate supports 100x100x50mm hortizental 800x800x40mm plain steel will be 6mm thick U shape steel 100x100x50mm thick) including essential accessories. Note that the two supporting pillars are already included in 2.03, 2.06, 2.08 and 2.11, and their price should not be included within this item bill (2.22) | 1 | No |  | 0
iii. | BOOM BARRIER(BOOM GATE)
2.23 | Supply and install boom barrier according technical specifications provided in the drawing. Boom Arm Length: 5900mm, Boom Arm Height: 1100mm , Boom Arm Material: GI pipe 140mmx6mm thick, Size of Base: 600mmx600mm with a depth of 1.5meters, with a footing of 800mm x 800mm x 100mm. Adjustability: Fully adjustable | 1 | No. |  | 0
| Sub Total-(d) |  |  |  | 0
e | Finishes: Security Camera, Painting, Landscaping
i. | Security Camera
2.24 | Security camera Technical Specifications: The following technical requirements are recommended or equivalent: a).3-Dimensional Noise Reduction (3DNR) Internet Protocol (IP) Cameras • A mix of dome and bullet and PTZ cameras (fixed and varifocal lenses) • Infrared capability • 10-30 meter range b) .Resolution • Up to 1280 x 960 c) .Robustness • Weather proof • Vandal proof d).Scalability • Capability to scaled up in complexity future configurations e) .Remote monitoring via internet f) At least 1 Month HDD storage capacity g) .1- 16 channel Master Control h) .NVR and Software Installation i) .23 Inch LED Monitoring screen or larger j) Warranty, Back Up Service and Support • Warranty for replacement of defective parts or modules or workmanship • Availability of expert back up service to provide servicing for equipment | 1 | LS |  | 0
ii. | Landscaping works
2.25 | Landscaping and leveling: LANDSCAPE WORKS. i. Earth Work: Turning and cleaning the soil up to a depth of 300mm and removal of unwanted material, mixing, spreading etc. ii. LANDSCAPE ENHANCEMENTS: Contractor will provide landscape enhancements if required over and above the Contract Performance Specifications at an additional charge with written approval from the client. iii. PERSONNEL A. Contractor will provide all labor, transportation and supervision necessary to perform the work described herein. Field personnel will be equipped with all necessary supplies, tools, parts and equipment and trained to perform work in a safe manner. Personnel will be licensed for all applicable maintenance functions. Contractor recognizes that its personnel are perceived as representatives of the Client while on the Client’s property and, as such, will conduct themselves in an efficient, well mannered, well- groomed and workman-like manner at all times. . Any damage caused by Contractor personnel shall be repaired promptly at no cost to the Client. All work performed by Contractor will be coordinated with the Client to minimize disruption and to maximize safety to people and vehicular traffic on the property. | 1 | LS |  | 0
iii. | lighting : Provide ten flush flood lights, 1000Wt : two at each of the four corners of the perimeter fence and two at the entrance gate, complete with wiring, installation and connection to the main grid | 1 | LS |  | 0
1v. | Painting
2.26 | First grade plastic emulsion paint to plastered walls and ceilings (3 coats) . Apply Permaplast long lasting exterior paint/weatherguard both sides of the perimeter wall, with approved colour by the client. | 760.2 | M2 |  | 0
| Sub Total ( e ) |  |  |  | 0
| SUB-TOTAL 2 CONSTRUCTION OF NEW WALL |  |  |  | 0
3 | Security room
3.1 | PRELIMINARY WORKS
3.11 | Provision for building site office and temporary store | 1 | item |  | 0
3.12 | Clear the site to remove trees and top soil to an average depth of 150mm. | 1 | item |  | 0
3.2 | EXCAVATION AND EARTHWORKS
3.21 | Excavate starting from stripped level a 600mm wide foundation trench to a depth of 1500mm | 15.57 | cum |  | 0
3.22 | Excavate starting from stripped level a column base foundation | 0.36 | cum |  | 0
3.23 | Plain concrete class 15/20 (mix 1:3:6) blinding 50mm thick | 0.519 | cum |  | 0
3.24 | Return fill in and ram excavated material around foundations | 0.25 | cum |  | 0
3.25 | Cart-away surplus excavated materials to where directed by Engineer | 11.245 | cum |  | 0
3.26 | Allow for keeping excavations free from undergroung, or storm water | 1 | item |  | 0
3.3 | SUBSTRUCTURE WORKS
Concrete works Class 20/25 on the following
3.31 | Supply and install Contrete to C20/25 and cast 200mm thick strip foundation footing. | 2.076 | cum |  | 0
3.32 | Cast 600mmx600mm with a depth of 200mm(Foundation footings 4 No.) | 0.288 | cum |  | 0
3.33 | 200mm thick natural stone grade1 walling in cement sand mortar 1:3 | 18.15 | sm |  | 0
3.34 | Supply and handpark 300mm hardcore filling well watered | 5.382 | cm |  | 0
3.35 | Supply and lay 50mm thick murram blinding well compacted | 17.94 | sm |  | 0
3.36 | Supply all materials and cast 150mm thick floor slab | 2.691 | cm |  | 0
3.37 | Supply all materials and cast 200mmx200mm columns with height of 1.25m Class 20/25 | 0.2 | cm |  | 0
3.38 | Supply and fix one layer B.R.C ref. No. A 142 fabric reinforcement | 17.94 | sm |  | 0
3.38 | Supply and fix strip steel reinforcement round bars to B.s 4449 D10 Both ways | 42.7581 | kg |  | 0
3.39 | Supply and fix Column footing (4No.) round bars to B.s 4449 D12 Both ways | 227.5328 | kg |  | 0
3.4 | Supply and fix formwork for sides of stub columns, strip footing formworks | 4 | sm |  | 0
3.41 | Supply and fix formwork for sides and edges of floor bed 75-160mm high | 18 | lm |  | 0
3.42 | Premise 200cc" or any other equal and approved anti-termite treatment | 17.94 | sm |  | 0
3.43 | 500mm gauge polythene damp proof membrane with 150mm (Min) end and side laps | 17.94 | sm |  | 0
3.44 | Supply and fix 200mm wide damp proof course under walls. | 3.46 | lm |  | 0
3.4 | SUPERSTRUCTURE WORKS
3.41 | Supply all materials and cast ring beams & Lintols as per structural design drawings | 0.88 | cm |  | 0
3.42 | Supply all materials and cast 4no. columns 200mmx200mm with 2100mm height | 0.336 | cum |  | 0
3.43 | Supply and fix formwork for sides of columns | 3.36 | sm |  | 0
3.44 | Supply and fix formwork on sides and soffites of ringbeams | 6.92 | sm |  | 0
3.45 | Assorted for beam reinforcement(D12-133.2kg; D8 - 71.1kg) | 204.3 | kg |  | 0
3.46 | Assorted for column reinforcement ( D12=79.56kg, D8 - 17.78kg) | 97.3398 | kg |  | 0
3.47 | 200mm thick natural machine dressed stone grade 1 for walling | 40.98 | sq.m |  | 0
3.5 | DOORS
3.51 | Steel Door Standard steel casement door ovaral size comprising 2100x900 with 6mm thick mild steel primed with red oxide complete with hinges, stays, fasteners, permanent vent with mosquito gauze and sheet metal hood etc assembled and fixed to opening including cutting and pinning lugs to concrete work surround and bedding frame in cement and sand mortar (1:4) ( One door at the exit of security screening room and the other on the Female security inspection room) | 2 | no |  | 0
3.6 | WINDOWS
3.61 | Supply and fix aluminium window size :1200x1200mm with anti shutter glass | 1 | no |  | 0
3.7 | ROOFING
3.71 | Supply all materials and cast 150mm thick floor slab C20/25 | 2.691 | cm |  | 0
3.72 | Reinforcemet of roof slab D10 at 200mm both ways | 110.9366 | kg |  | 0
3.73 | FINISHES
3.74 | Supply all materials and screed 25mm thick cement sand screed 1:2 steel | 17.94 | sq.m |  | 0
3.75 | 15mm thick cement sand plaster on internal walls | 17.94 | sq.m |  | 0
3.8 | PAINTING AND DECORATIONS
3.81 | Prepare and apply three coats Ruff 'N' safi exterior long lasting first grade | 11.48 | Sm |  | 0
3.82 | Supply, prepare and apply 3 coats smooth velvet emulsion paint interior | 11.48 | Sm |  | 0
| SUB-TOTAL 3 SECURITY ROOM |  |  |  | 0
4 | Construction of two toilets
4.1 | BILL NO.1 EXCAVATION - SUBSTRUCTURE
4.101 | Clear all vegetation before digging foundation trench 5000 x 4000mm from existing ground level. | 20 | sm |  | 0
4.102 | Carry away surplus excavated materials to an approved place | 20 | sm |  | 0
4.103 | Supply and lay 50mm thick murram blinding to under strip footing | 9.435 | sq.m |  | 0
4.104 | Supply and fix steel bars in foundation concrete work including cutting, bending, hoisting, and tying wire and supporting all in position, 3Y10 @ 200 | 22.4588 | kg |  | 0
4.105 | Supply and fix steel bars in foundation concrete work including cutting, bending, hoisting, and tying wire and supporting all in position Y10 @ 200 | 10.7835 | kg |  | 0
4.106 | Supply all materials and casst materials 600mm with a depth of 200mm thick vibrated reinforced foundation concrete strip (concrete class 20/25) | 1.092 | cum |  | 0
4.107 | Supply and build, 200mm thick stone foundation walling in cement and sand mortar (1:3). Reinforce with and including 20swg x 25mm wide hoop iron in every alternative course; height 1.2m. | 36.4 | sq.m |  | 0
4.108 | Floor Slab
4.109 | Apply approved anti-termite and herbicide treatment chemicals (Termidor or Gladiator) with a ten year guarantee over foundation walls | 5 | sq.m |  | 0
4.11 | Supply and fix formwork to all edges and soffits of slab including making provisions for squat holes and left in formwork as directed | 11.51 | sq.m |  | 0
4.111 | Supply and fix mesh fabric reinforcement no. A142 size 200 x 200mm weighing 2.22 kg per square metre in floor slab ( measured net- no allowance made for laps; including bends tying wire and distant blocks. | 5 | sq.m |  | 0
4.112 | 12mm high tensile square twisted bars; cold worked; BS4461 including bends, hooks, tying wire, distance blocks and spacers for ring beam reinforcement, 4Y12 | 31.968 | kg |  | 0
4.113 | 8mm bars, Y8 @ 200mm c/c, ditto | 13.035 | kg |  | 0
4.114 | Supply all materials and cast a 200mm thick vibrated reinforced concrete slab or class 20/25 | 1.4153 | cum |  | 0
| Total Bill No.1 |  |  |  | 0
4.2 | BILL NO. 2 WALLING
4.21 | Supply and build, 400mmx200mmx200mm thick Solid Block walling, in 1:3 cement sand mortar. Provide 25mm wide x 20swg Hoop iron at every alternate course. | 21 | sq.m |  | 0
4.22 | Supply and lay, 150mm wide bituminous based Damp Proof Course, BS743 | 9.2 | lm |  | 0
4.23 | Supply all materials and cast R.C. ring beam, 200mm x 200mm vibrated reinforced concrete class 20/25 | 0.552 | cum |  | 0
4.24 | Sawn formwork to sides and soffit of beam | 10.92 | sq.m |  | 0
| Total Bill No.2 |  |  |  | 0
4.3 | BILL NO. 3 ROOFING
4.31 | The contractor is reminded to include in his pricing, the cost of supply, cutting waste and erecting. Timber to be treated as described in the specifications.
4.32 | Supply and fix 28 gauge pre-painted 2.5long (approved colour) GCI roof sheet covering nailed to purlins | 14 | sq.m |  | 0
4.33 | Supply and fix 100 x 50mm common rafters for roof support. | 6.6 | lm |  | 0
4.34 | Supply and fix 50 x 50mm purlins | 20 | lm |  | 0
4.35 | Supply and fix pre-painted 6x1" fascia and barge board around roof structure | 18.6 | lm |  | 0
4.36 | Supply and fix 3m long 4" diameter PVC class D vent pipe complete with a fly-trap at the top | 1 | no |  | 0
| Total Bill No.3 |  |  |  | 0
4.4 | BILL NO. 4 DOORS
4.41 | 30 mm thick factory made moulded PVC door (Wood free) consisting of frame made out of M.S. tubes of 19 gauge thickness and size of 20mm x 40mm for stiles as well as top, bottom & lock rail. M.S. frame shall have a coat of metal primer of approved make & manufacturer. The inside panel shall consist of 20mm thick multi-chamber hollow PVC section of 1mm wall thickness, bonded using solvent cement / cynoacrylate adhesive with 5 mm (+0.25) thick moulded PVC sheet of density 600 kg/cbm with 2, 4, 6 raised panel deign in plain / prelam colours after routing the moulded design on one side of the inside panel. 5 mm (+0.25) plain / prelam PVC sheet to be pasted using solvent cement / cynoacrylate adhesive on other side of the hollow PVC section. All the four edge of the panel to be sealed with lipping of 10 mm thick & 20 mm wide PVC sheet baton made by sticking 2 nos. foam PVC sheets of 5 mm. Provide High Quality PVC Doors for Toilets(Public Toilets) 800x2100mm | 2 | no |  | 0
WINDOWS
4.42 | Supply, assemle and fix the following purpose made (standard W20 heavy duty sections) complete with opening accessories and permanent vents for the full width of window as detailed including cuMBng and 4mm thick toughened glazing fixing lugs to stone wall and pointing all round frames in mastic with 25 x 3mm steel flats burglarproofing at opening sashes only and full gloss decoration as necessary; Window size : 600x600mm | 2 | no |  | 0
| Total Bill No.4 |  |  |  | 0
4.5 | BILL NO. 5 FINISHES
Floor finishes
4.51 | 25mm thick Cement Sand (1:3) screed premixed with red oxide powder or other approved pigment | 10.36 | sq.m |  | 0
4.52 | 400 x 400 x 6 mm thick ceramic floor tiles - toilets | 10.36 | sq.m |  | 0
4.53 | Supply and fix 200X150X6mm thick coloured ceramic glazed wall tiles to wall on prepared backgrounds (measured separately) | 15.6 | sq.m |  | 0
4.54 | Wall finishes
4.55 | 15mm thick two coat cement sand (1:3) plaster trowelled smooth and comprising 12mm backing and 3mm finishing coat including provision of black board backing plaster. Works include both internal and external | 61.84 | sq.m |  | 0
4.56 | Prepare and apply three coats of gloss oil paint; 'Premium Grade brand' to wall surfaces | 61.84 | sq.m |  | 0
4.57 | Raking and keying to all masonry walling | 20 | sq.m |  | 0
4.58 | interior decoration ceiling design, 6 mm thick plywood laminated ceiling on 50 x 50mm SW brandering @600x600mm c/c | 10.36 | sq.m |  | 0
| Total Bill No.5 |  |  |  | 0
4.6 | BILL NO. 6 Plumbing works
Fittings
4.61 | East type WC Pan Twyfords or equal approved | 2 | no |  | 0
4.62 | Wall mounted Pegler tap or equal approved complet plus necessary piping and joints from existing connection | 2 | 120 |  | 0
4.63 | Pedestal wash hand basin in white vitreous china size 500x400 mm complete with 'Aztec' chromed taps and handles, a 32mm diameter chrome plated pop-up waste and a 32mm Caradon Terrain' plastic bottle trap. Wash hand basin to be as 'Twyford Galerie Design' or equal and approve. Include connection to existing water network | 2 | no |  | 0
| Total Bill No.6 |  |  |  | 0
4.7 | BILL NO. 7 Electrical works
4.71 | Provide a Provisional for light,lumps and Single switch outlet Installations to be expended as per the wiring diagram and as directed by the Engineer on site. | 1 | lm |  | 0
| Total Bill No.7 |  |  |  | 0
GRAND SUMMARY OF BID AMOUNTS |  |  |  |  | USD
f
1 | Total Bill No. 1 | 1 | No. | 0 | 0
2 | Total Bill No. 2 | 1 | No. | 0 | 0
3 | Total Bill No. 3 | 1 | No. | 0 | 0
4 | Total Bill No. 4 | 1 | No. | 0 | 0
5 | Total Bill No. 5 | 1 | No. | 0 | 0
6 | Total Bill No. 6 | 1 | No. | 0 | 0
7 | Total Bill No. 7 | 1 | No. | 0 | 0
| SUB-TOTAL 4 CONSTRUCTION OF NEW TOILET |  |  |  | 0
5 | Construction of Four Watchtowers
5.1 | BILL NO.1 EXCAVATION AND EARTH WORKS - SUBSTRUCTURE
5.11 | Clear the site to remove trees and top soil to an average depth of 150mm. | 1 | item |  | 0
5.12 | Excavate starting from stripped level a 600mm wide foundation trench | 10.89 | cum |  | 0
5.13 | Excavate starting from stripped level a column base foundation | 3.84 | cum |  | 0
5.14 | Plain concrete class 15/20 (mix 1:3:6) blinding Supply all materials and cast 50mm concrete for blinding | 0.128 | cum |  | 0
5.15 | Return fill in and ram excavated material around foundations | 0.768 | cum |  | 0
5.16 | Cart-away surplus excavated materials to where directed by Engineer | 10.122 | cum |  | 0
5.17 | Allow for keeping excavations free from undergroung, or storm water | 1 | item |  | 0
5.18 | SUBSTRUCTURE WORKS
5.19 | Supply all materials and cast 200mm thick reinforced foundation footing. Ratio of 1:1.5:3 of concrete | 0.512 | cum |  | 0
5.2 | Supply all materials and cast Concrete colums C20/25 200mmx200mm columns at a height of 1.25m for the 4no. Columns | 0.2 | cum |  | 0
| Total Bill No.1 |  |  |  | 0
5.2 | BILL NO.2 SUPERSTRUCTURE WORKS
5.21 | Supply all materials and cast ring beams as per structural design drawings - reinforced concrete class 20/25 | 0.756 | cm |  | 0
5.22 | Supply all materials and cast 4no. columns 200mmx200mm with 5.20m height reinforced concrete class 20/25 | 0.832 | cum |  | 0
5.23 | Floor Slab: Supply all materials and cast a 200mm thick vibrated reinforced concrete slab, reinforced concrete class 20/25 | 1.782 | cum |  | 0
5.24 | Supply and fix formwork for sides of columns | 8.32 | sm |  | 0
5.25 | Supply and fix formwork on sides and soffites of ringbeams | 0.864 | sm |  | 0
5.26 | Assorted for column, beam and floor slab reinforcement ( D12=272.8kg, D10=214.22kg,D8=163.53kg) | 650.55 | kg |  | 0
| Total Bill No.2 |  |  |  | 0
5.3 | BILL NO. 3 WALLING
5.31 | Supply and build, 200mmx200mm thick Solid Block walling, in 1:3 cement sand mortar. Provide 25mm wide x 20swg Hoop iron at every alternate course | 11.62 | sq.m |  | 0
| Total Bill No.3 |  |  |  | 0
5.4 | BILL NO. 4 ROOFING
The contractor is reminded to include in his pricing, the cost of supply, cutting waste and erecting. Timber to be treated as described in the specifications.
5.41 | Supply and fix 28 gauge pre-painted (approved colour) GCI roof sheet covering nailed to purlins | 22.188 | sq.m |  | 0
5.42 | Supply and fix 4x2" common rafters for roof support. | 5.4 | lm |  | 0
5.43 | Supply and fix 2x2" purlins | 15 | lm |  | 0
5.44 | Supply and fix pre-painted 6x1" fascia and barge board around roof structure | 20 | lm |  | 0
| Total Bill No.4 |  |  |  | 0
5.5 | BILL NO. 5 Ladder
5.51 | Supply and fix mild stell access staircase staircase as per specifications in the drawings | 1 | no |  | 0
| Total Bill No.5 |  |  |  | 0
5.6 | BILL NO. 6 FINISHES
Floor finishes
5.61 | 25mm thick Cement Sand (1:3) screed premixed with red oxide powder or other approved pigment | 6.25 | sq.m |  | 0
Wall finishes
5.62 | 15mm thick two coat cement sand (1:3) plaster trowelled smooth and comprising 12mm backing and 3mm finishing coat including provision of black board backing plaster. Works include both internal and external | 23.24 | sq.m |  | 0
5.63 | Prepare and apply three coats of gloss oil paint; 'Premium Grade brand' to wall surfaces | 23.24 | sq.m |  | 0
| Total Bill No.6 |  |  |  | 0
USD
SUMMARY FOR CONSTRUCTION FOUR (4 UNITS ) WATCH TOWER
1 | Total Bill No. 1 | 4 | No. | 0 | 0
2 | Total Bill No. 2 | 4 | No. | 0 | 0
3 | Total Bill No. 3 | 4 | No. | 0 | 0
4 | Total Bill No. 4 | 4 | No. | 0 | 0
5 | Total Bill No. 5 | 4 | No. | 0 | 0
6 | Total Bill No. 6 | 4 | No. | 0 | 0
| SUB-TOTAL 5 CONSTRUCTION OF FOOUR WATCHTOWERS |  |  |  | 0
GRAND SUMMARY OF BID AMOUNTS |  |  |  |  | $USD
SUMMARY FOR SECURITY ENHANCEMENT
1 | SUB-TOTAL 1 DEMOLITION | 1 | Lot | 0 | 0
2 | SUB-TOTAL 2 CONSTRUCTION OF NEW WALL | 1 | Lot | 0 | 0
3 | SUB-TOTAL 3 SECURITY ROOM | 1 | Lot | 0 | 0
4 | SUB-TOTAL 4 CONSTRUCTION OF NEW TOILET | 1 | Lot | 0 | 0
5 | SUB-TOTAL 5 CONSTRUCTION OF FOOUR WATCHTOWERS | 1 | Lot | 0 | 0
| SUB-TOTAL |  |  |  | 0
| Allow Provisional Sum 5% for Contingency |  |  |  | 0
GRAND TOTAL BID AMOUNT SECURITY ENHANCEMENT |  |  |  |  | 0
AMOUNT IN WORDS:

## L2-Banadir-G+1 Dining & office
Concern Worldwide
BID SCHEDULE
PROPOSED CONSTRUCTION OF MOE OFFICES AND DINNING AREA
Location:MOE OFFICES, BANADIR
ITEM | DESCRIPTION | QTY | UNIT | BID UNIT RATE | AMOUNT (USD)
CONSTRUCTION OF DINNING AREA WITH OFFICES
Dining Area and offices
Notes: The contractor is reminded to visit the site before filling the Request for Quotation to ascertain the extent of the conditions of site. All quantified works in the Request for Quatation are provisional and payment shall be made based on the actual work executed at the site and agreed upon by all parties. The contractor is advised to constantly seek the Engineer instructions at each phase of the work and if required, before filling the Request for Quotation. All unit rate shall be deemed to include all elements of supplying and construction work that is labour and other overheads eg security, profit and overheads, cost of materials, wastages, transport etc.
A | SUB STRUCTURE
a) | Clear the site of the existing delapidated building and debris; remove from site as directed | 148.72 | m2 |  | 0
b) | Excavate loose top soil, average 200mm deep from ground level, wheel and deposit on site as directed | 148.72 | m2 |  | 0
c) | Excavate in soft material for foundation trenches not exceeding 1.5m deep starting from stripped level | 55.26 | m3 |  | 0
d) | Ditto; for column bases | 54.03 | m3 |  | 0
2) | Planking and strutting
a) | Allow for maintaining and supporting sides of excavations and for keeping the same free from fallen materials | 1 | Item |  | 0
3) | Backfilling
a) | Return, fill in and ram selected excavated material around foundations | 20.29 | m3 |  | 0
4) | Disposal of Surplus spoil
a) | Load and cart away surplus excavated material from site to an approved dumping site | 50 | m3 |  | 0
5) | Selected filling
a) | 300mm Thick hardcore filling, well watered and compacted in layers not exceeding 150mm deep | 18.7725 | m3 |  | 0
b) | 50mm Thick quarry crusher run compacted to 90% BS heavy to surfaces of hardcore | 6.2575 | m3 |  | 0
6) | Anti-termite treatment
a) | Chemical anti-termite treatment as "Premise 200 SC" or other equal and approved executed complete by an approved specialist under a ten (10) year guarantee to surfaces of blinded hardcore | 125.15 | m2 |  | 0
7) | Damp proof membrane
a) | 1000 Gauge polythene or other equal and approved damp proof membrane laid under surface bed with 300mm side and end laps (measured net- allow for laps) | 125.15 | m2 |  | 0
8) | Concrete work in substructure
Plain concrete class 15 (mix 1:3:6)
a) | 50mm Thick surface blinding under strip foundation | 1.842 | m3 |  | 0
b) | Ditto; Under column bases | 1.801 | m3 |  | 0
Insitu concrete class 25, vibrated and reinforced as described, in:-
c) | Foundation strip | 7.368 | m3 |  | 0
d) | Column bases 19No. Base | 10.806 | m3 |  | 0
e) | Ground Beams | 8.964 | m3 |  | 0
f) | 150mm thick ground floor slab | 25.03 | m3 |  | 0
9) | Reinforcement
High tensile steel reinforcement to B.S. 4461 in structural concrete work including cutting, bending, hoisting, fixing, tying wire and spacing blocks
a) | 8 mm diameter bars | 69.0144 | kg |  | 0
b) | 12 mm diameter bars | 1224.2303 | kg |  | 0
b) | 16 mm diameter bars | 4474.89 | kg |  | 0
BRC A142 Mesh reinforcement ; B.S. 4483 weighing 2.22 kgs per square meter including bends, tying wire and spacing blocks
f) | Fabric mesh reinforcement to ground floor and ramps | 131.15 | m2 |  | 0
10) | Sawn formwork to:-
a) | Vertical sides of foundation strip | 23.52 | m2 |  | 0
b) | Edges of column bases | 29.4 | m2 |  | 0
d) | Vertical sides of ground beams and shear wall | 60 | m2 |  | 0
g) | Edges and steps of ground floor slab, 75-150mm girth | 30 | m |  | 0
11) | Foundation Walling
Masonry stone walling; bedded, jointed and pointed in cement sand (1:3) mortar; reinforced with hoop iron after every alternate course.
b) | 200mm Thick walling | 72 | m2 |  | 0
12) | Plinths
a) | 12 mm thick cement : sand (1:3) mortar to receive natural stone (m.s) | 20.265 | m2 |  | 0
| TOTAL FOR SUBSTRUCTURES CARRIED TO BILL SUMMARY |  |  |  | 0
B | STRUCTURAL FRAME
1) | Reinforced Concrete
Insitu concrete class 25/20 , vibrated and reinforced as described, in:-
a) | Beams | 13.09 | m3 |  | 0
b) | Columns | 22.4 | m3 |  | 0
c) | Staircases | 1.568 | m3 |  | 0
d) | Lintels (200mmx200mm to overlap 200mm both ways on all openings) | 1.041 | m3 |  | 0
e) | 150mm Thick suspended first floor slab | 18.7725 | m3 |  | 0
f) | 150mm Thick suspended roof slab | 18.7725 | m3 |  | 0
2) | Reinforcement
High tensile steel reinforcement to B.S. 4461 in structural concrete work including cutting, bending, hoisting, fixing, tying wire and spacing blocks
a) | 8 mm diameter bars | 669.683 | kg |  | 0
b) | 10 mm diameter bars | 2015.4922 | kg |  | 0
c) | 12 mm diameter bars | 202.09 | kg |  | 0
d) | 16 mm diameter bars | 2282.2866 | kg |  | 0
3) | Marine Ply Formwork at any level to:-
Formwork in sawn finish at any level to:-
a) | Sides and soffits of beams | 135.18 | m2 |  | 0
b) | Vertical sides of columns | 104.16 | m2 |  | 0
c) | Soffits of landings | 12 | m2 |  | 0
d) | Sloping soffits of stairs | 5.16 | m2 |  | 0
e) | Edges of rises, girth 150-225mm | 36 | m |  | 0
f) | Open edges of stairs, 450mm wide extreme; cut to tread and riser profile | 14 | m |  | 0
g) | Edges of landings, girth 150-225mm | 48 | m |  | 0
h) | Sides and soffits of lintels | 2 | m2 |  | 0
i) | Soffits of suspended slabs | 300 | m2 |  | 0
j) | Edges of suspended slabs, 150mm to 225mm girth | 220 | m |  | 0
4) | Sundries
a) | Cut chase on soffits of roof slab extension to form 10mm deep (average) drip moulds, finished to approval | 150.3 | m |  | 0
| TOTAL FOR STRUCTURAL FRAME CARRIED TO BILL SUMMARY |  |  |  | 0
C | WALLING
1) | Damp proof course
| Three- ply bituminous felt damp proof course bedded in cement and sand (1:4) mortar (measured net allow for 300mm laps):- |  |  |  | 0
b) | 200mm wide | 121.12 | m |  | 0
2) | External Walling
Hollow concrete block walling (mix 1:3:6); bedded, jointed and pointed in cement sand (1:3) mortar; reinforced with hoop iron after every alternate course.
b) | 200mm Thick walling | 265.67 | m2 |  | 0
c) | Ditto; roof parapet walling | 71.7 | m2 |  | 0
3) | Internal Walling
hollow concrete block walling (mix 1:3:6); bedded, jointed and pointed in cement sand (1:3) mortar; reinforced with hoop iron after every alternate course.
a) | Ground 200mm Thick walling | 120.81 | m2 |  | 0
b) | Ditto; on the dividing wall on first floor | 44.8 | m2 |  | 0
4) | Wall coping
Precast concrete trimmings fair finished on all exposed faces
a) | Coping size 300mm wide x50mm thick, with 10mm deep (average) drip moulds on each side for parapet wall (at the ramps and roof) | 47.8 | m |  | 0
| TOTAL FOR WALLING CARRIED TO BILL SUMMARY |  |  |  | 0
D | ROOF COVERINGS
1) | Flat roof finishes
a) | 30mm Thick (average) cement and sand (1:3) screed on concrete roof slab, laid to fall towards drain channels | 125.15 | m2 |  | 0
b) | Extra over working screeds around 100mm dia fulbora outlet | 5 | Nr |  | 0
c) | Extra over working screeds to form 150mm wide x 100mm deep rain water drain along parapet wall; finished to fall towards full bora outlets | 40 | m |  | 0
| TOTAL FOR ROOFING COVERINGS CARRIED TO BILL SUMMARY |  |  |  | 0
E | DOORS
Note: All doors to be supplied and fixed as per the details and schedule provided. All iron Mongery that has not been measured separately to be priced together with the corresponding door.
1) | Timber Doors
The following in timber doors as per the details provided
a) | Door Frames, architraves and beads
i) | 150x50mm hardwood frame rebated; fixed to block work using rawl plugs | 15.3 | m |  | 0
ii) | 50x15mm hardwood architrave chamfered | 15.3 | m |  | 0
iii) | 15x15mm hardwood quadrant bead | 15.3 | m |  | 0
b) | Door Shutters
Supply and fix the following solid core, hardwood door panel shutter
i) | 10mm Thick single leaf door size 900x2100mm high | 3 | Nr |  | 0
2 | Alumiminium Doors
Note: All Aluminum doors shall be complete and priced with;8mm Thick One way glass as per BS 6262-2018,4 MIL Clear shattering proof film inside,All ironmongery Opening type a
a) | D1- Aluminium door unit size 1800x2100mm high | 3 | Nr |  | 0
a) | D2-Aluminium doors unit size 900x2100mm high | 2 | Nr |  | 0
c) | Iron Mongery
Supply and fix the following ironmongery with matching screws; as per UNION-ASSA ABLOY catalogue or other equal and approved manufacturer
i) | Natural Aluminium hinges approved from samples | 15 | Nr |  | 0
ii) | Natural Aluminium side bolt assembly including fixing to timber doors and approved from samples | 5 | Nr |  | 0
iii) | Natural Aluminum door handles including fixing to timber doors and approved from samples | 5 | Nr |  | 0
d) | Painting and Decorating
Aluminum wood primer
i) | Back of wood frames over 100mm but not exceeding 200mm girth | 15.3 | m |  | 0
Prepare and apply 2 coats of clear matt varnish to timber doors
ii) | Surfaces not exceeding 100mm girth | 15.3 | m |  | 0
iii) | Ditto over 100mm not exceeding 200mm girth | 15.3 | m |  | 0
iv) | General surfaces of doors | 11.34 | m2 |  | 0
| TOTAL FOR DOORS & GRILLE WORK CARRIED TO BILL SUMMARY |  |  |  | 0
F | WINDOWS
Note: All windows to be supplied and fixed as per the details and schedule provided. All iron Mongery, fixing lugs etc. to be priced together with the corresponding window unit.
1) | windows
Note: All windows to be supplied and fixed . Aluminum Windows,All windows shall be complete and priced with;8mm Thick One way glass as per BS 6262-2018,4 MIL Clear shattering proof film inside,All ironmongery Opening type
a) | Aluminum window unit size 1200x1200mm high | 4 | Nr |  | 0
a) | Aluminium window unit size 2000x1200mm high | 7 | Nr |  | 0
a) | Aluminium window unit size 600x600mm high | 2 | Nr |  | 0
| TOTAL FOR WINDOWS CARRIED TO BILL SUMMARY |  |  |  | 0
G | FINISHES
Note: Contractor to provide all samples for approval before incorporation into the final works.
1) | Floor finishes
Insitu cement and sand (1:3) screed
a) | 20mm thick screed finished with 30mm thick terrazo with necessacary plastic dividers | 250.3 | m2 |  | 0
2) | Wall Finishes
Internal Walls: 12mm thick cement sand plaster, with steel troweled finish, as described to:-
a) | Wall and concrete surfaces internally | 241.62 | m2 |  | 0
Prepare and apply two undercoats of soft white/ cream emulsion paint and two finishing coats of first quality soft white/cream Silk Vinyl emulsion paint (washable) as;-
c) | Internal wall surfaces | 241.62 | m2 |  | 0
External Walls: 15mm Cement and sand (1:3) render on block wall or concrete work to:-
d) | Wall and concrete surfaces externally | 265.67 | m2 |  | 0
3) | Ceiling Finishes
Internal ceilings: 12mm thick cement sand plaster, with steel troweled finish, as described to:-
a) | Soffits of concrete surfaces | 420 | m2 |  | 0
| TOTAL FOR FINISHES CARRIED TO BILL SUMMARY |  |  |  | 0
H | BUILDING FIXTURES, FITTINGS & BALUSTRADING
3) | Staircase balustrading
Solid concrete block walling (mix 1:3:6); bedded, jointed and pointed in cement sand (1:3) mortar; reinforced with hoop iron after every alternate course.
a) | 100mm Thick walling | 9.9 | m2 |  | 0
Finishes
c) | 12mm thick cement sand plaster, with steel troweled finish, to solid block walls | 18 | m2 |  | 0
Fill uneven surfaces with stucco filler to approval including sanding of all uneven surfaces; apply two undercoats emulsion paint and two finishing coats of first quality Silk Vinyl emulsion paint as;-
d) | To plastered surfaces | 18 | m2 |  | 0
4) | Corridor Railing
a) | Stainless Steel handrail, type 304, 50mm diameter, 1.5 mm thickness and matte finish welded to 20mm diameter vertical solid stainless steel bars grouted (fish tailed) into first floor slab (m.s), complete with stainless steel anchor plates and mounting screws | 25.9 | m2 |  | 0
| TOTAL FOR BUILDING FIXTURES, FITTINGS & BALUSTRADING CARRIED TO BILL SUMMARY |  |  |  | 0
I | POWER DISTRIBUTION
Distribution boards
a) | Supply, install, and connect 12 WAY TPN Distribution Board complete with 125A Main Switch Schneder Electric, ABB or equivalent and approved: for Power Distribution from the Main distribution board to the Consumer units | 4 | Nr |  | 0
Supply and install the following M.C.Bs as Schneder Electric, ABB or equivalent and approved:
b) | 63A SPN MCB | 12 | Nr |  | 0
c) | Blanking plate for spare way | 6 | Nr |  | 0
Earthing for distribution board
d) | Supply and install earthing for the distribution board comprising 25x3mm copper tape lead, 1800mm long x 15mm diameter copper earth electrode as Furse or approved equivalent complete with driving stud and tape to rod clamp, 300mm x 300mm x 300mm deep concrete inspection earth pit with removable waterproof cover, soil conditioning agents (marconite/bentonite) necessary to achieve earth resistance value below 10-Ohms. | 1 | Sum |  | 0
Consumer unit
e) | Supply, install, and connect 12 Way Consumer Unit, recessed, incorporating 63A integral isolator, suitable for a fault level of 10 kA @ 415 VAC as Schneder Electric, ABB or equivalent and approved | 1 | Nr |  | 0
Supply and install the following M.C.Bs as Schneder Electric, ABB or equivalent and approved:
f) | 10A SP MCB | 12 | Nr |  | 0
g) | 32A SP MCB | 2 | Nr |  | 0
h) | Blanking plate for spare way | 6 | Nr |  | 0
Socket Power
Final sub-circuits from DB in cable, floor duct/conduit and/or trunking installation comprising concealed 2.5mm2 PVC insulated copper cables, 2.5 mm2 copper earthing cable including accessories and fittings
j) | 13 Amp switched socket outlet as "MK" or approved equivalent complete with ring wiring in 3x 2.5 sq.mm single core copper PVC cables enclosed in concealed HG PVC conduit and all accessories necessary for flush mounting | 10 | Nr |  | 0
2) | LIGHTING AND FITTINGS
Light fittings
a) | Supply, Install and connect the following vandal proof light fittings complete with lamps, tubes, suspensions and all other necessary accessories. All Lighting fittings / lamps to have minimum: power factor of 0.9, CRI Value 80, and 2years of warrant. Contractor to submit samples from at least 3 different manufacturers for approval.
i) | H12F LED - LD4 with 20W LED | 14 | Nr |  | 0
Light switches
c) | Supply, install and connect following 6A lighting switches on recessed switchboxes wired in 1.5 sq.mm PVC single core copper cables enclosed in trunking (measured elsewhere) as "MK" Metalclad Plus or approved equivalent complete with all necessary accessories:
i) | 1 gang 1 way | 2 | Nr |  | 0
ii) | 2 gang 1 way | 4 | Nr |  | 0
iii) | Multi-gang 1 way | 4 | Nr |  | 0
| TOTAL FOR ELECTRICAL INSTALLATIONS CARRIED TO BILL SUMMARY |  |  |  | 0
J | PLUMBING WORKS
SANITARY, PLUMBING AND DRAINAGE
Septic Tank Construction
EXCAVATION AND EARTHWORKS
a) | Excavate starting from stripped level for septic tank pit size proided in the drawing indepths of 1500mm in normal soil to be approved by site Engineer | 16.26 | cum |  | 0
b) | Supply all materials and cast 50mm concrete for blinding concrete ratio 1:4:8 | 0.58 | cum |  | 0
c) | Return fill in and ram excavated material around foundations as directed by Engineer on site | 10.8 | cum |  | 0
d) | Cart-away surplus excavated materials to where directed by Engineer | 5 | cum |  | 0
e) | Allow for keeping excavations free from undergroung, or storm water | 1 | item |  | 0
| Excavation works (Carried to Summary) |  |  |  | 0
SUBSTRUCTURE WORKS
Concrete works
Vibrated reinforced concrete 1:2:4 to:-
f) | Supply all materials and cast 150mm thick Slab and 100mm dividing wall | 2.47 | cum |  | 0
Reinforcement details
g) | Supply and fix strip steel reinforcement round bars to B.s 4449 including all cutting to size, binding wire and spacer blocks in strip to be placed according to the structural drawings provided or as advised by Structural Site Engineer | 259.4 | kg-D12,8 |  | 0
Walling
h) | 200mm thick natural stone grade1 walling in cement sand mortar 1:3 with and including hoop- iron after every 2nd alternate course. | 11.2 | sq.m |  | 0
| Substracture (Carried to Summary) |  |  |  | 0
SUPERSTRUCTURE WORKS
1- Supplying , placing, workmanship, mortar, scaffolds, filling mastic for expansion joints and all other required materials, equipment and tools to complete the work according to specifications and directions of supervisor engineer. 2 -Contractor to provide samples for approval and all the required tests. 3-The following items include supply and cast of concrete, shuttering, tie rods, spacers, supply and placing of concrete, vibrating, steel reinforcement shaping and fixing, curing, steel reinforcement, and supply and cast the required concrete, using mechanical vibrators, curing, testing steel reinforcement and concrete, and all other requirements and workmanship as per specifications, drawings and engineers instructions. The contractor has to submit shop drawings for approval prior to work.
Vibrated reinforced concrete 1:2:4 (20/20) in:-
i) | Supply all materials and cast ring beams & Lintols as per structural design drawings | 1.26 | cum |  | 0
Formwork
j) | Supply and fix formwork on sides of ringbeams | 12.6 | sq.m |  | 0
Reinforcement works
k) | Assorted for beam reinforcement | 132.3 | kg-D10 |  | 0
| Super structure works (Carried to Summary) |  |  |  | 0
BILL NO 11.4: FINISHES
Walls
l) | 10mm thick cement sand plaster on internal walls | 14 | sq.m |  | 0
m) | inlet and outlet manholes | 5 | no |  | 0
n) | soak away pit excavation and filling up with approved loose material 1000mm dia with a depth of 2000mm filled with broken hardcore and covere on top with polythene | 1 | no |  | 0
o) | Cast mass concrete 200mm thick, dosage 1:3:6 | 0.40212 | CM |  | 0
p) | Construct 200mm thick walling | 3.7699 | SM |  | 0
q) | Cast 150mm thick cover slab Cocrete C20/25 200mm | 0.30159 | CM |  | 0
r) | Slab reinforcement ribbed 10mm bars | 19.9908 | kg
t) | 600X400mm inspection chambers to acceptable depths approved by site engineeer compleet with approved concrete manhole cover | 3 | no |  | 0
| Sub total Finishes (Carried to Summary) |  |  |  | 0
| Total for Septic Tank |  |  |  | 0
SANITARYWARE
Supply, deliver, install, test and commission the following sanitary fittings and accessories. Fixing to be to manufacturer's printed instructions.
a) | Water closet (W.C.) suite in white vitreous china comprising Glazed W.C. pan with heavy duty unbreakable plastic seat and cover, close couple cistern and fittings, 6.0 litres, including chrome lever and cover clip, and WC outlet connector. The cistern to have internal overflow. Water closet pan to be as 'Twyford classic' or equal and approved | 2 | Nr |  | 0
b) | Kitchen
i. | Providing and making of 18-20 mm thick vertical support of banswada marble for 40 mm sandwitched marble support (approx. 800 mm height) for kitchen platform and one back side platform including the cost of fixing by embedding the edges of marble slab into the walls and floor concrete up to 40 mm and filling the gap with cement mortar 1:5 including cost of all materials, labour charges, curing etc. The clear height and width of approx. 18 mm thick vertical support member will be measured for payment. ( 2.6 meters length and 0.6 meters width Approximate 1.56 sq meter of the kitchen) | 1.56 | sm |  | 0
ii. | Supplying and fixing 18mm m thick horizontal support of banswara marble for kitchen platform and under count type sink including inserting edges of slab into the walls up to 40 mm, and firmly resting on vertical marble slab support and fill the joints with cement mortar 1:5 etc. complete as directed including cost of all materials, labour charges, curing etc. complete. The clear area of marble baswara will be measured for payment. (Approximate 1.56 sq mper of the kitchen ) | 1.56 | sm |  | 0
iii. | Providing and fixing 18 mm thick, one side polished Z Black granite slab for kitchen platform and for back side platform with side facia and skirting above platform and shelves in the kitchen including making facing edge bull nose moulding/edge champhering with matching polishing to give high gloss finish etc. complete and sealing all joints with epoxy resin based adhesive as directed. In kitchen, the granite slab is to be fixed over marble slab with cement mortar 1:4 with cement grout and other three edges of granite slab shall be embedded 20 mm into the wall. The finished portion of granite slab shall be taken for measurement in sq. m and no deduction shall be made for area of granite cut for sink. The rate quoted shall include cost of cutting hole for sink with opening edge rounding, cost of all materials, transportation, labour charges, curing etc. complete as directed. The granite before procuring should be got approved by Bank's engineer. The end portion of the platform is to be provided with granite facia over the vertical marble support and up to 450mm height above the platform. The skirting/facia etc. will be measured in sq. m only. | 1.56 | sm |  | 0
iv. | Providing and fixing 1st quality ceramic glazed wall tiles (300x600mm) confirming to IS15622 (thickness to be specified by manufacturer) of approved shade/colour of make such as Kajaria, Johnson, NITCO, RAK ,Bell or equivalent upto 2 feet above kitchen platform/ Backside platform including cost of approximately 20 mm thick cement mortar 1:4 and necessary cement plaster , (Approximate qty per kitchen is 11 sm) | 11 | sm |  | 0
v. | Providing and fixing 1st quality vitrified glazed floor tiles ( anti- skid) of size- 600x600mm , confirming to IS15622 (thickness to be specified by manufacturer ) of approved make such as Kajaria/Bell /NITCO/RAK/JOHNSONor equivalent .Complete approximately 24sqm | 24 | sm |  | 0
vi. | Providing and fixing Stainless Steel sink bowl (overall size -1800mm x 600mm and thickness- 1.2 mm) approx. (or as per site requirement/directed) of Make- Nirali make or equivalent (Square designer satin finish) in the kitchen platform as under counter type in the granite slab and marble slab neatly according to the size of sink, complete as directed. The item includes waste coupling, stainer, drain drop connection to the floor trap, waste pipe including cost of all material, labour charges, curing etc. 1pc | 1 | nr |  | 0
vii. | Providing and fixing of swan neck mixer and tap for steel sink (Hindware, Parryware, Jaguar make) or other approved equivalent make including cost of all material, labour charges etc. 1pc | 1 | nr |  | 0
viii. | Supplying pre-fabricated/factory made modular kitchen units below main kitchen platform of approximate 28 sqft and unit having approx. 800 mm height and 610 mm depth as per the following specifications and enclosed sketches. The frame work or carcass of the cabinets including drawer fascia/sides /bottom, shelves etc. shall be made out of 19 mm thick marine plywood (of make like Green ply/Century Ply/ Kit ply or equivalent of grade of boiling water proof and moisture resistant) with laminate of inside of 0.6 mm and 1.0 mm laminate of glossy finish Panel Shutters (Approx 5 SQM) shall be made out of 19mm thick HDF with glossy finish (with 10 years’ warranty) of make | 5 | sm |  | 0
c | Countertop wash hand basin in white vitreous china size 500x400 mm complete with 'Aztec' chromed taps and handles, a 32mm diameter chrome plated pop-up waste and a 32mm Caradon Terrain' plastic bottle trap. Wash hand basin to be as 'Twyford Galerie Design' or equal and approved, | 2 | Nr |  | 0
INTERNAL PLUMBING AND WATER RETICULATION AND ASSOCIATED PIPEWORKS
| Supply, deliver and install pipes, tubing and fittings. The pipes shall be PPR PN 20 pipes and all conforming to the current European standards for PPR installations and to the Engineers approval, pipe jointing shall be by polyfusion or use of electric coupling and to manufacturer's printed instructions. Rates must allow for all Metal/plastic threaded adaptors where required, valves, unions, sockets, sliding and fixed joints, support raceways, isolating sheaths, elastic material,expansion arms and bends, crossovers, couplings, clippings, connectors, joints and for the connection of sanitary fixtures etc. as required in the running lengths of pipework and also where necessary, for pipe fixing clips, holder bats plugged and screwed for the proper and satisfactory functioning of the system. The pipes will be pressure tested before the plastering of wall commences and as per the manufacturers recommended testing procedures. The sizes indicated are the minimum bore sizes. | 1 | Item |  | 0
ASSOCIATED INTERNAL DRAINAGE PIPEWORK
Supply and fix uPVC soil system to BS 4660 and BS 4515 and MuPVC waste system to BS 5255 with screwed and socketed joints to BS 21. Solvent welded joints shall be as per the system manufacturers written instructions. Tenderers must allow in their pipework prices for all the couplings, connectors, joints etc. as required in the running lengths of pipework and also where necessary for pipe fixing clips, holderbats, plugs and screwed. The installation must comply with BS 5572 and fixing to be to the manufacturer's printed instructions.
Note: Trade Names
| Caradon Terrain Ltd's pipe and fittings have been used as a guide to the type and quality of materials required. Other brands must be equal and approved in writing by the Engineer before installation. One brand only shall be used and inconsistency shall not be accepted. | 1 | Item |  | 0
| Sub Total Sanitary wear |  |  |  | 0
| TOTAL FOR PLUMBING INSTALLATIONS CARRIED TO BILL SUMMARY |  |  |  | 0
GRAND SUMMARY OF BID AMOUNTS |  |  |  |  | $USD
CONSTRUCTION OF NEW 2-STOREY (12 CLASSROOM) BLOCK WITH OFFICES
A | SUBSTRUCTURES |  |  |  | 0
B | STRUCTURAL FRAME |  |  |  | 0
C | WALLING |  |  |  | 0
D | ROOF COVERINGS & FINISHES |  |  |  | 0
E | DOORS |  |  |  | 0
F | WINDOWS & GRILLE WORK |  |  |  | 0
G | FINISHES |  |  |  | 0
H | BUILDING FIXTURES, FITTINGS & BALUSTRADING |  |  |  | 0
I | ELECTRICAL INSTALLATIONS |  |  |  | 0
J | PLUMBING WORKS |  |  |  | 0
| GRAND TOTAL FOR CONSTRUCTION OF NEW BLOCK |  |  |  | 0
GRAND TOTAL BID AMOUNT DINNING OFFICE & TOILETS, MoE BANADIR |  |  |  |  | 0
AMOUNT IN WORDS:

## L2 Banadir BOQ-GAHAYRE
Concern Worldwide
BID SCHEDULE
PROPOSED REHABILITATION OF GAHAYRE TEACHER TRANINING INSTITUTE MOGADISHU - SOMALIA
Location: Mogadishu, Banadir
ITEM | DESCRIPTION | QTY | UNIT | BID UNIT RATE | AMOUNT (USD)
REHABILITATION WORKS ON EXISTING G+1 STRUCTURES
ELEMENT 01 : DOWN & UPSTAIRS CLASS ROOMS NO: 22
Notes: The contractor is reminded to visit the site before filling the Request for Quotation to ascertain the extent of the conditions of site. All quantified works in the Request for Quatation are provisional and payment shall be made based on the actual work executed at the site and agreed upon by all parties. The contractor is advised to constantly seek the Engineer instructions at each phase of the work and if required, before filling the Request for Quotation. All unit rate shall be deemed to include all elements of supplying and construction work that is labour and other overheads eg security, profit and overheads, cost of materials, wastages, transport etc.
SITE MOBILIZATION
A | Site Mobilization and Clearance incluidng removal damaged material,floors, iron sheets Doors and windows | 1 | LM |  | 0
FLOORS
B | Hack existing floor to remove existing old floor tiles. | 1032.295 | SM |  | 0
FINISHES
C | Floors
Supply and fix approved coloured non slip glazed marble ceramic floor tiles including bedding in approved tile adhesive and pointing with coloured grout and laying to falls where necessary .
D | 500 x 500 x 6 mm thick ceramic floor tiles - Classrooms | 1032.295 | SM |  | 0
SLABS IN CLASS ROOMS
E | Hack existing Rcc slab cracking and removing remaining blocks. | 479.16 | SM |  | 0
FINISHES
SLAB FINSIHING AND PLASTERING
F | 70 mm thick finished to receive plastering slab with mesh wire [1:2] finish | 33.5412 | SM |  | 0
Walls
INTERNALL FINISHING
G | Hack existing Cracking walls to remove Blocks and waste | 508.2 | SM |  | 0
Plaster: 9 mm first coat of cement/lime putty/sand (1:2:9): 3 mm second coat of cement/lime putty/sand (1:1:6): steel toweled: on masonry or concrete: to
H | Walls: internally | 508.2 | SM |  | 0
Prepare surfaces and apply undercoat and two finishing coats silk vinyl emulsion paint as " Crown Paints" or other equal approved on plastered masonry or concrete surfaces: to
I | Walls and concrete: internally | 2337.72 | SM |  | 0
| Carried to Summary of Rehabilitation Works |  |  |  | 0
DOORS
Remove the badly damaged doorto receive new 2,150mmx900mm with first class exported hardwood timber doors (Singapore model) complete with all necessary fittings, fixtures, handles and locks.
J | Door type 01 - 45mm thick hardwood double leaf panel door overall size 1200 x 2400mm high with approved decorative glass in fan light size 1000 x 300mm, full jamb 250 x 50mm rebated hardwood solid timber frame, 25mm quadrant beading, 50 x 15mm architraves with surface primed back, complete with polishing and appropriate three (3) coats clear lacquer all done to the satisfaction of the Engineer | 22 | No |  | 0
Prepare surfaces and apply three coats first grade clear polyurethane varnish as "Crown Paints" or other equal approved: on wood surfaces: to
K | Door: general surfaces: both sides | 126.72 | SM |  | 0
WINDOWS
Aluminum Windows
Supply, assemble and fix the following purpose made (standard W20 heavy duty sections) complete with opening accessories and permanent vents for the full width of window as detailed including 4mm thick toughened glazing fixing lugs to stone wall and pointing all round frames in mastic with 25 x 3mm steel flats burglarproofing at opening sashes only and full gloss decoration as necessary;
L | Window size 1200x12000mm | 48 | No |  | 0
Prepare metal surfaces: apply undercoat and two finishing coats first grade eggshell paint: as "Crown Paints" or other equal approved metallic paint: on metal surfaces: to
M | General surfaces: Steel Grill protection of windows and burglarproofing grilles internally (measured flat overall) | 40.32 | SM |  | 0
| Carried to Summary of Rehabilitation Works |  |  |  | 0
EXTRENAL WALLS
EXTERNAL FINISHES
Plaster: 9 mm first coat of cement/lime putty/sand (1:2:9): 3 mm second coat of cement/lime putty/sand (1:1:6): steel toweled: on masonry or concrete: to
N | Walls and concrete: externally | 484.77 | SM |  | 0
Prepare surfaces and apply undercoat and two finishing coats silk vinyl emulsion paint as " Crown Paints" or other equal approved on plastered masonry or concrete surfaces: to
O | Walls and concrete: externally | 2337.72 | SM |  | 0
TOP ROOF SLAB
P | Carefully Hacking and remove top concrete slab Cracks , then clean and collect all debris and cartaway to safe area | 913.44 | SM |  | 0
Q | Prepare and apply 70mm thick pcc of ratio 1:1.5:3 to receive 30mm thick cement sand morter mixed with water proof and white glue on top as roof fishing material | 91.344 | CM |  | 0
WATERPROOFING TO TOP OF FLAT SLAB ROOFS.
R | Prime with one coat bitumen primer and one layer 4mm fully bonded waterproof membrane comprising two bitumenlayers reinforced with woven spunbonded polyester fabric and coated with polyethelene film for heat bonding, laid with 100mm side and 150mm end laps. | 913.44 | SM |  | 0
| Carried to Summary of Rehabilitation Works |  |  |  | 0
| Sub Total Element 01 |  |  |  | 0
ELEMENT 02 : CLASS ROOMS VERANDAH
FLOORS
A | Hack existing floor to remove existing old broken damaged floor tiles. | 293.76 | SM |  | 0
FINISHES
Supply and fix approved coloured non slip glazed marble ceramic floor tiles including bedding in approved tile adhesive and pointing with coloured grout and laying to falls where necessary.
B | 500 x 500 x 6 mm thick ceramic floor tiles - | 293.76 | SM |  | 0
PARAPET Walls & Columns
Plaster: 9 mm first coat of cement/lime putty/sand (1:2:9): 3 mm second coat of cement/lime putty/sand (1:1:6): steel toweled: on masonry or concrete: to
C | Walls: internally | 273 | SM |  | 0
D | Replacment of damaged ventation blocks of parapet walls | 73.5 | SM |  | 0
Prepare surfaces and apply undercoat and two finishing coats silk vinyl emulsion paint as " Crown Paints" or other equal approved on plastered masonry or concrete surfaces: to
E | Walls and concrete: externally and internally painting | 900 | SM |  | 0
| Carried to Summary of Rehabilitation Works |  |  |  | 0
| Sub Total Element 02 |  |  |  | 0
ELEMENT 03 : 5 OFFICES (ADMIN)
FLOORS
A | Hack existing floor to remove existing old floor tiles. | 98 | SM |  | 0
FINISHES
B | Floors
Supply and fix approved coloured non slip glazed marble ceramic floor tiles including bedding in approved tile adhesive and pointing with coloured grout and laying to falls where necessary.
C | 500 x 500 x 6 mm thick ceramic floor tiles - Classrooms | 98 | SM |  | 0
SLABS IN CLASS ROOMS
D | Hack existing Rcc slab cracking and removing remaining blocks. | 63.7 | SM |  | 0
FINISHES
SLAB FINSIHING AND PLASTERING
E | 70 mm thick finished to receive plastering slab with mesh wire [1:2] finish | 4.459 | SM |  | 0
Walls
INTERNALL FINISHING
F | Hack existing Cracking walls to remove Blocks and waste | 190 | SM |  | 0
Plaster: 9 mm first coat of cement/lime putty/sand (1:2:9): 3 mm second coat of cement/lime putty/sand (1:1:6): steel toweled: on masonry or concrete: to
G | Walls: internally | 190 | SM |  | 0
Prepare surfaces and apply undercoat and two finishing coats silk vinyl emulsion paint as " Crown Paints" or other equal approved on plastered masonry or concrete surfaces: to
H | Walls and concrete: internally | 353.5 | SM |  | 0
| Carried to Summary of Rehabilitation Works |  |  |  | 0
DOORS
Remove the badly damaged doorto receive new 2,150mmx900mm with first class exported hardwood timber doors (Singapore model) complete with all necessary fittings, fixtures, handles and locks.
I | Door type 01 - 45mm thick hardwood double leaf panel door overall size 1000 x 2200mm high with approved decorative glass in fan light size 1000 x 300mm, full jamb 250 x 50mm rebated hardwood solid timber frame, 25mm quadrant beading, 50 x 15mm architraves with surface primed back, complete with polishing and appropriate three (3) coats clear lacquer all done to the satisfaction of the Engineer | 5 | No |  | 0
Prepare surfaces and apply three coats first grade clear polyurethane varnish as "Crown Paints" or other equal approved: on wood surfaces: to
J | Door: general surfaces: both sides | 242 | Sm |  | 0
WINDOWS
Aluminum Windows
Supply, assemle and fix the following purpose made (standard W20 heavy duty sections) complete with opening accessories and permanent vents for the full width of window as detailed including cuMBng and 4mm thick toughened glazing fixing lugs to stone wall and pointing all round frames in mastic with 25 x 3mm steel flats burglarproofing at opening sashes only and full gloss decoration as necessary;
K | Window size 1200x12000mm | 12 | No |  | 0
Prepare metal surfaces: apply undercoat and two finishing coats first grade eggshell paint: as "Crown Paints" or other equal approved metallic paint: on metal surfaces: to
L | General surfaces: Steel Grill protection of windows and burglarproofing grilles internally (measured flat overall) | 17.28 | SM |  | 0
HVAC
M | Supply, Deliver, Install, Test and Commission the following AC indoor units including with all accessories including all connections as described.
N | Wall mounted unit of cooling capacity: 12.3kW with inbuilt drain pump, power input: 0.15kW, single phase, Refrigerant R-410A complete with all hanging accessories, remote control, filter chamber, drain pump kit, suction canvas, ceiling panel, wiring from DP switch to fan coil unit, fabricated steel mounting brackets, steel frames and raw bolts, anti-vibration mountings. DP switch to be positioned next to the in door unit. The indoor unit shall be to Daikin/Toshiba/LG make or approved equivalent. | 5 | NO |  | 0
| Carried to Summary of Rehabilitation Works |  |  |  | 0
EXTRENAL WALLS
EXTERNAL FINISHES
Plaster: 9 mm first coat of cement/lime putty/sand (1:2:9): 3 mm second coat of cement/lime putty/sand (1:1:6): steel toweled: on masonry or concrete: to
O | Walls and concrete: externally | 190 | Sm |  | 0
Prepare surfaces and apply undercoat and two finishing coats silk vinyl emulsion paint as " Crown Paints" or other equal approved on plastered masonry or concrete surfaces: to
P | Walls and concrete: externally | 353.5 | SM |  | 0
TOP ROOF SLAB
Q | Carefully Hacking and remove top concrete slab Cracks , then clean and collect all debris and cartaway to safe area | 195 | SM |  | 0
R | Prepare and apply 70mm thick pcc of ratio 1:1.5:3 to receive 30mm thick cement sand morter mixed with water proof and white glue on top as roof fishing material | 19.5 | CM |  | 0
WATERPROOFING TO TOP OF FLAT SLAB ROOFS.
S | Prime with one coat bitumen primer and one layer 4mm fully bonded waterproof membrane comprising two bitumenlayers reinforced with woven spunbonded polyester fabric and coated with polyethelene film for heat bonding, laid with 100mm side and 150mm end laps. | 195 | SM |  | 0
| Carried to Summary of Rehabilitation Works |  |  |  | 0
| Sub Total Element 03 |  |  |  | 0
ELEMENT 04 : OFFICES VERANDAH
FLOORS
A | Hack existing floor to remove existing old broken damaged floor tiles. | 68.8 | SM |  | 0
FINISHES
Supply and fix approved coloured non slip glazed marble ceramic floor tiles including bedding in approved tile adhesive and pointing with coloured grout and laying to falls where necessary.
B | 500 x 500 x 6 mm thick ceramic floor tiles | 68.8 | SM |  | 0
PARAPET Walls
Plaster: 9 mm first coat of cement/lime putty/sand (1:2:9): 3 mm second coat of cement/lime putty/sand (1:1:6): steel toweled: on masonry or concrete: to
C | Walls: internally | 37.8 | SM |  | 0
Prepare surfaces and apply undercoat and two finishing coats silk vinyl emulsion paint as " Crown Paints" or other equal approved on plastered masonry or concrete surfaces: to
D | Walls and concrete: externally and internally painting | 72 | SM |  | 0
Roofing front venrada of offices
30 guage Aluminium coated roof sheets.
| Allow for removal of existing rusted verandah roof office rooms | 107.5 | SM |  | 0
E | Roof covering; fixed to slopes | 119.8625 | SM |  | 0
F | 300mm diameter approved half round hip/ ridge capping: fixed with nails | 165 | LM |  | 0
G | Allow for masonry walling and making good | 1 | ITEM |  | 0
H | Allow for carpentary to cover all side opening after fixed roof sheets | 1 | ITEM |  | 0
Support Columns
I | Supply RHS columns 100mmx100mmx4000mm support columns for veranda roof. Apply colum in verandah roof and tie-in to ground as shown in the drawing. | 13 | PC |  | 0
Wooden Beam for support clumns
| Hardwood 100mmx50mmx5000mm wooden beam to support roof across all G.I columns | 43 | LM |  | 0
Decorative Ceilling
J | interior decoration ceiling design with lights and accessories, 9 mm thick plywood laminated ceiling on 50 x 50mm SW brandering @600x600mm c/c | 120.4 | SM |  | 0
Gutters and down pipes
K | 75 x 50mm square rainwater downpipe fixed with and including mild steel straps at 900mm centres, plugged and screwed to wall | 45 | LM |  | 0
L | Extra; swanneck bend with 1135mm projection | 21 | NO |  | 0
M | Extra; horse shoe bend | 12 | NO |  | 0
Painting and Decorating
N | Knot prime stop and apply two undercoats and one gloss finishing coat oil paint to fascia board 200- 300 mm wide | 33 | SM |  | 0
Fascia Board
O | 199 x 25mm fascia board (apply wood primer on back of timber before fixing fascia board. | 43 | Lm |  | 0
CLASS ROOMS OFFICES & VERANDAH ELECTRICAL INSTALLATIONS
P | Supply and install all cables with An LED lighting system with automatic lighting controls (daylight dimming), Lightning protection and lightning surge protection, .Provide a Provisional for Internal light lumps and sockets,Consumer control unit, sockets and connection to the main grid Installations to be expended as directed by the Civil Engineer and measured and valued on completion | 1 | lm |  | 0
| Carried to Summary of Rehabilitation Works |  |  |  | 0
| Sub Total Element 04 |  |  |  | 0
ELEMENT 05 :Store
FLOORS
A | Hack existing floor to remove existing old floor tiles. | 33.79 | SM |  | 0
FINISHES
B | Floors
Supply and fix approved coloured non slip glazed marble ceramic floor tiles including bedding in approved tile adhesive and pointing with coloured grout and laying to falls where necessary.
C | 500 x 500 x 6 mm thick ceramic floor tiles - Classrooms | 33.79 | SM |  | 0
SLABS IN CLASS ROOMS
D | Hack existing Rcc slab cracking and removing remaining blocks. | 21.9635 | SM |  | 0
FINISHES
SLAB FINSIHING AND PLASTERING
E | 70 mm thick finished to receive plastering slab with mesh wire [1:2] finish | 1.5374 | SM |  | 0
Walls
INTERNALL FINISHING
F | Hack existing Cracking walls to remove Blocks and waste | 20.3875 | SM |  | 0
Plaster: 9 mm first coat of cement/lime putty/sand (1:2:9): 3 mm second coat of cement/lime putty/sand (1:1:6): steel toweled: on masonry or concrete: to
G | Walls: internally | 20.3875 | SM |  | 0
Prepare surfaces and apply undercoat and two finishing coats silk vinyl emulsion paint as " Crown Paints" or other equal approved on plastered masonry or concrete surfaces: to
H | Walls and concrete: internally | 93.7825 | SM |  | 0
| Carried to Summary of Rehabilitation Works |  |  |  | 0
DOORS
Remove the badly damaged doorto receive new 2,400mmx1000mm with first class exported hardwood timber doors (Singapore model) complete with all necessary fittings, fixtures, handles and locks.
I | Door type 01 - 45mm thick hardwood Single leaf panel door overall size 1000 x 2400mm high with approved decorative glass in fan light size 1000 x 300mm, full jamb 250 x 50mm rebated hardwood solid timber frame, 25mm quadrant beading, 50 x 15mm architraves with surface primed back, complete with polishing and appropriate three (3) coats clear lacquer all done to the satisfaction of the Engineer | 1 | NO |  | 0
Window
J | Supply and fix Steel casement windows .(measuring 1200 x 1200mm inclusive frame), 5mm thick plate , high quality lever fasteners, | 1 | NO |  | 0
| Carried to Summary of Rehabilitation Works |  |  |  | 0
EXTRENAL WALLS
EXTERNAL FINISHES
Plaster: 9 mm first coat of cement/lime putty/sand (1:2:9): 3 mm second coat of cement/lime putty/sand (1:1:6): steel toweled: on masonry or concrete: to
K | Walls and concrete: externally | 20.3875 | Sm |  | 0
L | Prepare surfaces and apply undercoat and two finishing coats silk vinyl emulsion paint as " Crown Paints" or other equal approved on plastered masonry or concrete surfaces: to
M | Walls and concrete: externally | 93.7825 | SM |  | 0
TOP ROOF SLAB
N | Carefully Hacking and remove top concrete slab Cracks , then clean and collect all debris and cartaway to safe area | 33.79 | SM |  | 0
O | Prepare and apply 70mm thick pcc of ratio 1:1.5:3 to receive 30mm thick cement sand morter mixed with water proof and white glue on top as roof fishing material | 3.379 | CM |  | 0
| WATERPROOFING TO TOP OF FLAT SLAB ROOFS. |  |  |  | 0
P | Prime with one coat bitumen primer and one layer 4mm fully bonded waterproof membrane comprising two bitumenlayers reinforced with woven spunbonded polyester fabric and coated with polyethelene film for heat bonding, laid with 100mm side and 150mm end laps. | 33.79 | SM |  | 0
| Carried to Summary of Rehabilitation Works |  |  |  | 0
| Sub Total Element 05 |  |  |  | 0
ELEMENT 06: VIP & PUBLIC Ablution block
FLOORS
A | Hack existing floor to remove existing floor | 25 | SM |  | 0
FINISHES
Floors
B | 32 mm thick finished to receive screed [1:3] finish | 25 | SM |  | 0
C | 400 x 400 x 6 mm thick ceramic floor tiles - toilets | 25 | SM |  | 0
D | Supply and fix 200X150X6mm thick coloured ceramic glazed wall tiles to wall on prepared backgrounds (measured separately) | 112 | SM |  | 0
Walls
Plaster: 9 mm first coat of cement/lime putty/sand (1:2:9): 3 mm second coat of cement/lime putty/sand (1:1:6): steel toweled: on masonry or concrete: to
E | Walls: internally | 45 | SM |  | 0
Prepare surfaces and apply undercoat and two finishing coats silk vinyl emulsion paint as " Crown Paints" or other equal approved on plastered masonry or concrete surfaces: to
F | Walls and concrete: internally | 135 | Sm |  | 0
| Carried to Summary of Rehabilitation Works |  |  |  | 0
DOORS
45mm thick solid core flush door to B.S 459: parts faced both sides with 6mm mahogany veneered plywood and lipped on all edges in hardwood, including all planted moulding. Complete with heavy duty hinges, brass locks and glass ventilight
G | 50mm thick single door overall size 900x2200mm high(Admin W/C) | 2 | NO |  | 0
H | Provide High Quality PVC Doors for Toilets(Public Toilets) 800x2100mm | 7 | NO |  | 0
Prepare surfaces and apply three coats first grade clear polyurethane varnish as "Crown Paints" or other equal approved: on wood surfaces: to
I | Door: general surfaces: both sides | 121 | Sm |  | 0
J | 100x75x2mm steel butt hinges | 4 | Prs |  | 0
K | 2-lever mortice lock with approved handles union or equal approved | 2 | NO |  | 0
| Carried to Summary of Rehabilitation Works |  |  |  | 0
PIPING
Supply, deliver and install pipes, tubing and fittings a The pipes shall be PPR PN 20 pipes and all conforming to the current European standards for PPR installations and to the Engineers approval, pipe jointing shall be by polyfusion or use of electric coupling and to manufacturer's printed instructions. Rates must allow for all Metal/plastic threaded adaptors where required, valves, unions, sockets, sliding and fixed joints, support raceways, isolating sheaths, elastic material, expansion arms and bends, crossovers, couplings, clippings, connectors, joints and for the connection of sanitary fixtures etc. as required in the running lengths of pipework and also where necessary, for pipe fixing clips, holder bats plugged and screwed for the proper and satisfactory functioning of the system. The pipes will be pressure tested before the plastering of wall commences and as per the manufacturers recommended testing procedures. The sizes indicated are the minimum bore sizes.
A | Supply and install heavy duty PPR pipes including all connections 40mm internal diameter, one roll of 100meters incliding the associated fittings | 1 | Roll |  | 0
L | Supply and installation PVC water tank 4 cubic meter (KENTANK) | 1 | No |  | 0
M | Rehabilaition of roof top an area of 3m x 8m inlucing laying tiles at zero joint jointed with grout. At the existing Ablutions area , repair the outlets and fittings to ensrue there are not leaks for water draining to the soak away pit . | 1 | LS |  | 0
Sanitary installlation
Sanitary appliances complete with all the connections to services, waste, jointing to supply overflows and plugging and scewing to the floors. Where trade names are mentioned below, the reference is intended to be as a guide to the type of fitting.
N | Water closet (W.C.) suite in white vitreous china comprising: Glazed W.C. pan with heavy duty unbreakable plastic seat and cover, close couple cistern and fittings, 6.0 litres, including chrome lever and cover clip and WC outlet connector. The cistern to have internal overflow. Water closet pan to be as 'Twyford classic' or equal and approved | 1 | NO |  | 0
N | Pedestal wash hand basin in white vitreous china size 500x400 mm complete with 'Aztec' chromed taps and handles, a 32mm diameter chrome plated pop-up waste and a 32mm Caradon Terrain' plastic bottle trap. Wash hand basin to be as 'Twyford Galerie Design' or equal and approved | 6 | NO |  | 0
O | Replacement water taps of ablution block new water taps with new fittings | 1 | Item |  | 0
ELECTRICAL INSTALLATIONS
P | Provide a Provisional for Internal light lumps and sockets Installations to be expended as directed by the Civil Engineer and measured and valued on completion | 1 | lm |  | 0
| Carried to Summary of Rehabilitation Works |  |  |  | 0
| Sub Total Element 06 |  |  |  | 0
ELEMENT 07 : MAIN GATE, INTERLOCKING & BOOM GATE
Double Leaf Sliding Gate 5m length and 3height 6mm steel plan.
A | Supply and install steel sliding gate 5×3 m The unit rate shall include painted one primer coat and two oil coats at least, Wally switch type lock, iron mongery and all needed parts, fittings and accessories, suspended parbed wires .The unit rate shall include all needed workmanship ,equipment, materials, concrete B250,plates, rails ...etc necessary to have operational gate and completed job .The work shall be done all as specification.(vertical gate supports 100x100x50mm hortizental 800x800x40mm plain steel will be 6mm thick U shape steel 100x100x50mm thick) including essential accessories. | 1 | Pc |  | 0
BOOM BARRIER(BOOM GATE)
B | Supply and Provide 5'' (12.5cm) dia. Pipe for 9m long Supply and Provide 5'' (12.5cm) dia. Pipe for 9mm long Pipe as Per drawing. | 27 | LM |  | 0
C | Supply and Provide 2'' (50mm) dia. Pipe for bonding Long 5'' pipes. | 42 | LM |  | 0
D | Supply and Provide C Section Steel strips for fastening | 14 | LM |  | 0
E | Supply and Provide Plate for filling mass Concrete to Balance the Steel Barrier. | 2.5 | SM |  | 0
F | Fill the Box with Mass Concrete | 1.96 | CM |  | 0
G | Allow a provisional sum for painting and Transportation and inatallation work of the Steel Barriers on site | 1 | NO |  | 0
SECURITY LIGHTING
H | Supply all materials and mount 6 LED 150W floodlights | 6 | NO |  | 0
INTERLOCK (PAVEMENT WALK WAYS )
SITE PREPARATIONG
I | Oversite excavation in loose material up to the required levels. Rate is to include carting away from site of any unused material to an approved dumping site and all required dumping charges | 2200 | SM |  | 0
Compaction
J | Grade and compact:- compaction to BS 95% compacting by compacting roller | 2200 | SM |  | 0
Hard Core Filling
K | 300mm hard core filling to the sides of the interlock to make up levels, well compacted and well watered in layers | 2200 | SM |  | 0
Paving
L | Providing and laying 80mm thick factory made cement concrete interlocking paver block of M ‐30 grade made by block making machine with strong vibratory compaction and of approved size and design/ shape laid in required colour and pattern over and including 50mm thick compacted bed of course sand, filling the joints with coarse sand etc. all complete as per the direction of Engineer | 2200 | SM |  | 0
Kerbstone
M | Providing and laying cement concrete in kerbs, steps | 225 | LM |  | 0
| Carried to Summary of Rehabilitation Works |  |  |  | 0
| Sub Total Element 07 |  |  |  | 0
GRAND SUMMARY OF BID AMOUNTS |  |  |  |  | $USD
REHABILITATION WORKS ON EXISTING G+1 TEACHER TRAINING CENTRE GAHAYRE
1 | ELEMENT 01 : DOWN & UPSTAIRS CLASS ROOMS NO: 22 | 1 | Lot | 0 | 0
2 | ELEMENT 02 : CLASS ROOMS VERANDAH | 1 | Lot | 0 | 0
3 | ELEMENT 03 : 5 OFFICES (ADMIN) | 1 | Lot | 0 | 0
4 | ELEMENT 04 : OFFICES VERANDAH | 1 | Lot | 0 | 0
5 | ELEMENT 05 :Store | 1 | Lot | 0 | 0
6 | ELEMENT 06: VIP & PUBLIC Ablution block | 1 | Lot | 0 | 0
| SUB-TOTAL |  |  |  | 0
7 | ELEMENT 07 : MAIN GATE, INTERLOCKING & BOOM GATE | 1 | Lot | 0 | 0
| SUB-TOTAL |  |  |  | 0
| Allow Provisional Sum 5% for Contingency |  |  |  | 0
GRAND TOTAL BID AMOUNT GAHAYRE TTI MOGADISHU |  |  |  |  | 0
AMOUNT IN WORDS: