## BoQ- Summary-Baidoa
AA
WATER SUPPLY INFRASTRUCTURES
BAIDOA- GOYALE VILLAGE HAFFIR
BILL OF QUANTITIES - SUMMARY COSTS
Item | Description | Unit | Qty | Rate (USD) | Amount (USD)
1 | ELECTROMECHANICAL AND SOLAR PUMP SYSTEM | No. | 1 |  | 0
3 | WATER POINT | No. | 1 |  | 0
4 | TRANSMISSION LINES | No. | 1 |  | 0
5 | 25m3 RCC ELEVATED TANK | No. | 1 |  | 0
9 | HAFFIR PAN | No. | 1 |  | 0
| TOTAL |  |  |  | 0

## 1.1 Pan Reservoir
AA
CONSTRUCTION OF WATER SYSTEM
BAIDOA - GOYALE VILLAGE HAFFIR
BILL OF QUANTITY FOR REHABILITATION OF HAFFIR PAN- 7200m3
Notes: The contractor is reminded to visit the site before filling the Request for quotation ascertain the extent of the conditions of site. All quantified works in the Request for quotation are provisional and payment shall be made based on the actual work executed at the site and agreed upon by all parties. The contractor is advised to constantly seek the Engineer instructions at each phase of the work and if required, before filling the Request for quotation. All unit rate shall be deemed to include all elements of supplying and construction work that is labour and other overheads eg security, profit and overheads, cost of materials, wastages, transport etc.
Item | Description | Unit | Qty | Rate US$ | Amount US$
PRELIMINARIES
1 | Mobilization and demobilization
Please Note the exact site location has to be determine in consultation with the Ministry of Water and Irrigations and Local Authorities rates should be choosen to work any where in the county . There will be no adjustment to rate originally made, when the location is choosen by the stake holders
Assessment will include survey of the choosen location for topography and drainage of the location catchment area. Contractors are advised that these cost should in included in the rates.
1.1 | Mobilization and demobilization | Item | 1 |  | 0
1.2 | Supply and Erect name board size 1.2m wide x .90m erected about 2.1 m high above existing ground level : fixed with concrete class 20 to ground ( Note: The writing on the Name board will be provided by Concern Worldwide and conform to Concern's requirements) | Item | 1 |  | 0
| Sub Total 1- Preliminaries |  |  |  | 0
CIVIL WORKS
Unless other wise stated, Rate shall include for:-
a) back filling with selected excavated material & consolidating. Surface treatment; compaction before filling / foundation.
b) disposal of surplus soil as directed & keeping all excavations free from water unless other wise measured separately.
c) any additional excavation for working space.
d) It is the contractor responsibility to ensure that the Haffirs is functional. The contractor will be expected to engage experience persnnel in Haffir construction and also experience and qualified specialist to install the submersible pump.
2 | Pan Excavation & Earthwork Supports
2.1 | Site Clearance removal of small trees Vegetation and debris and dispose as directed 50x50m | m2 | 2500 |  | 0
2.3 | Bulk excavation of Hafir according to the Drawings and technical specification given for the 7200 m³ reservoir an average depth of 2.5m maintaining the side slopes (assuming 0.5m depth is existing). Maintain a minimum 10m berm between and the reservoir and the embankment as directed by by Supervuising Engineer. | m³ | 6000 |  | 0
2.4 | Construction of embankment from the excavated soil material surrounding the haffir according to the drawings and well compacted to 95% MDD. | m³ | 6000 |  | 0
2.5 | Grassing to embankment slopes and crest. | m³ | 200 |  | 0
HDPE Geo membrane Dam Liner Material
2.6 | Supply and instal 1.2mm Thick approved quality Geosynthetic plastic material laid over well compacted soil bed bottom and sides of pan pond, | m2 | 3000 |  | 0
2.7 | Provide stone garbions (400x300x300mm thick), 1m away from the pan pond edge, to secure the HDPE Membrane, in a dug trench 200mm deep) | m3 | 9 |  | 0
| Sub Total 2 - Pan Excavation and earthworks |  |  |  | 0
3 | IN FLOW GALLERY, SILT TRAP AND OUTFLOW/SPILLWAY
3.1 | Excavate in normal soil to create inflow channel - 200x2x1m | m3 | 400 |  | 0
3.2 | Class 25 Concrete bed surround, head wall and inlet | m³ | 15 |  | 0
3.3 | Excavate in normal soil to create silt trap - 30x20x1 | m³ | 600 |  | 0
3.4 | Excavation of the outlet/spillway channels - 200x2x1m | m³ | 400 |  | 0
| Provide rip rap protection for silt trap and spill way (2x4x0.2)x2 | Item | 1 |  | 0
| Construct concrete sill (mixer1:2:4) at inlet and overflow - (0.3x4) x2m | m3 | 2.4 |  | 0
3.5 | Provide and install the following, Trash screen for the inlet channel 1.5 m X 1 m. (Heavy Gauge Mesh) and Mild Steel Foot Bridge 4m x 600 mm wide. | Item | 1 |  | 0
| Sub Total 3 - Inlet, Outlet, Silt Trap |  |  |  | 0
4 | EXTERNAL WORKS- FENCING
4.1 | Construction of chain mesh fencing 2.10m high : comprising of 75 x 75 x 6mm angle posts anchored to 300 x 300 x 450mm mass concrete at 3000mm centres : clipped to 3 No horizontal straining wire and topped with 3 lines of barbed wire to cranked tops of posts: 120x120m (480m) | m | 440 |  | 0
4.2 | Steel gate size 3000mm wide x 2100mm high in two equal leaves: comprising of 100 x 50 x 6mm Gate posts: 75 x 75 x 6mm angle sashes: infilled with 25 mm square hollow sections welded to frames at 100mm centres: include all iron mongery as required: and all paint works | Item | 1 |  | 0
4.3 | Access Road to Haffir Clearing | item | 1 |  | 0
| Sub Total 4 |  |  |  | 0
COLLECTION
| SUB TOTAL 1 - PRELIMINARIES (A) | Item | 1 |  | 0
| SUB TOTAL 2 - CIVIL WORKS - PAN RESERVOIR | Item | 1 |  | 0
| SUB TOTAL 3 - CIVIL WORKS - INLET, SILT TRAP AND SPILLWAY | Item | 1 |  | 0
| SUB TOTAL 4 - EXTERNAL WORKS | Item | 1 |  | 0
| TOTAL - HAFFIR PAN CONSTRUCTION (7,200m3) + Auxilliaries |  |  |  | 0

## 1.2 Solar Pumps
AA
BILL OF QUANTITIES
INSTALLATION OF ELECTRO_MECHANICAL AND SOLAR PUMPING SYSTEM
BAIDOA-GOYALE VILLAGE HAFFIR
BILL OF QUANTITY FOR INSTALLATION OF ELECTROMECHANICAL SOLAR PUMPING SYSTEM ( INTAKE AND RISING MAIN)
Notes: The contractor is reminded to visit the site before filling the Request for quotation ascertain the extent of the conditions of site. All quantified works in the Request for quotation are provisional and payment shall be made based on the actual work executed at the site and agreed upon by all parties. The contractor is advised to constantly seek the Engineer instructions at each phase of the work and if required, before filling the Request for quotation. All unit rate shall be deemed to include all elements of supplying and construction work that is labour and other overheads eg security, profit and overheads, cost of materials, wastages, transport etc.
S/NO. | ITEM DESCRIPTION | UNIT | QUANTITY | UNIT PRICE (USD) | TOTAL AMOUNT (USD)
1 | INTAKE WORKS
1.1 | CONSTRUCTION AND INSTALLATION OF FLOATING RACK WITH A SUCTION PIPELINE CONNECTED TO THE PUMP HOUSE/SHADE SECURED WITH CABLES AT THE EDGE OF THE RIVER AND INSTALLED WITH THE PUMP | LS | 1 |  | 0
1.2 | 60MM INTERNAL DIAMETER SUNCTION PIPE | M | 5 |  | 0
1.3 | 100MM INTERNAL DIAMETER HDPE DELIVERY PIPE | M | 50 |  | 0
| Sub Total 1 |  |  |  | 0
2 | SURFACE PUMP & SOLAR INSTALLATION RIVER INTAKE TO ELEVATED RCC TANK
2.1 | SURFACE PUMP SYSTEM- LORENTZ SP INCLUDING CONTROLLER WITH DATA MODULE, MOTOR AND PUMP END. | SET | 1 |  | 0
2.2 | DC PV 5760 Wp; 16X1 MODULES; ( 360WP X 16 MODULES) OR EQUVALENT | PC | 16 |  | 0
2.3 | MOTOR CABLE, LONDEX ( 40M 2.5MM2 3PHASE CABLE FOR POWER ) | M | 40 |  | 0
2.4 | MOTOR CABLE, LONDEX ( 1-PHASE CABLE FOR GROUND 15M) | M | 15 |  | 0
2.5 | ACCESSORIES(1 SET WATER SENOSER, FLOAT SWITCH, 3X PV DISCONNECT 1000-40-5, PV COMBINER 1000-125-4, PV PROTECT-1000-40-5, SMARTPSUK2, SURGE PROTECTOR 2) BRACKET, SURGE PROTECTOR2 ) | SET | 1 |  | 0
2.6 | WALL MOUNTED ENCLOSURE | SET | 1 |  | 0
2.7 | POLE MOUNT SET ( SOLAR PANNEL RACK FABRICATION AND ASSEMBLY) | SET | 1 |  | 0
2.8 | SOLAR INTERCONNECTION TO THE CONTROLLER CABLE 16MM2 AND CONNECTORS | LS | 1 |  | 0
2.9 | EARTHING SET FOR THE WHOLE SYSTEM. THIS SHOULD BE DONE TO THE ALTERNATOR, CANOPY AND NEUTRAL | SET | 1 |  | 0
2.1 | CONCRETE AND MASON WORKS FOR THE FRAME BASE | LS | 1 |  | 0
| Sub Total 2 |  |  |  | 0
3 | SERVICES
3.1 | INSTALLATION SERVICE AND COMMISSIONING | LS | 1 |  | 0
3.2 | SYSTEM INSPECTION TRANSPORT AND ACCOMODATION AFTER 3 MONTHS | LS | 1 |  | 0
| Sub Total 3 |  |  |  | 0
| TOTAL (Sub Total 1+2+3) |  |  |  | 0
| GRAND TOAL - 1no Unit |  |  |  | 0

## 1.3 Elevated 25m3 RCC Tank
AA
CONSTRUCTION OF WATER SYSTEM - ELEVATED WATER TANK - 25m3
ODWEYNE-GOCODHAALE VILLAGE HAFFIR
BILL OF QUANTITY FOR CONSTRUCTION OF 25CM ELEVATED RCC TANK
Notes: The contractor is reminded to visit the site before filling the tender to ascertain the extent of the conditions of site. All quantified works in the tender are provisional and payment shall be made based on the actual work executed at the site and agreed upon by all parties. The contractor is advised to constantly seek the Engineer instructions at each phase of the work and if required, before filling the RFQ. All unit rate shall be deemed to include all elements of supplying and construction work that is labour and other overheads eg security, profit and overheads, cost of materials, wastages, transport etc.
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE (USD) | AMOUNT (USD)
1 | Excavation
Excavation including maintaining and supporting sides and keeping free from water, mud and fallen materials by bailing, pumping or otherwise
1.1 | Prepare site by stripping top 150 mm of soil to remove all debris including sand (if any) from site and carting away spoil | m2 | 25 |  | 0
1.2 | Pit for column bases excavation commencing at reduced levels depth not exceeding 1.50m deep | m3 | 24 |  | 0
1.3 | Remove surplus excavated material from site | m3 | 4 |  | 0
1.4 | Backfill around foundation | m3 | 15 |  | 0
| Sub Total 1 |  |  |  | 0
2 | Concrete work - Substructure
Vibrated Reinforced Concrete class 25 (1:1.5:3) with 20mm thick maximum aggregate size in
2.1 | Colunm Bases (foundation) - (2x2x0.45)m by 4no. | m3 | 2 |  | 0
2.2 | Ground Beam - (450mmx250mm)x3100mm by 4 no. | m3 | 0.35 |  | 0
| Sub-Total 2 |  |  |  | 0
3 | Concrete work - Superstructure
Vibrated Reinforced Concrete class 25 (1:1.5:3) with 20mm thick maximum aggregate size in
3.1 | Tie beam - 450x250mm | m3 | 0.7 |  | 0
3.2 | Columns - 250x250mm | m3 | 1.5 |  | 0
3.3 | 250mm thick Walls | m3 | 4.87 |  | 0
3.4 | 150mm thick Tank Base slab | m2 | 1.13 |  | 0
3.5 | 200mm thick Tank top Cover slab | m2 | 1.51 |  | 0
| Sub Total 3 |  |  |  | 0
4 | Reinforcement
4.1 | Reinforcement bars (all sizes) as shown on drawings | kg | 2372 |  | 0
| Sub Total 4 |  |  |  | 0
5 | Sawn formwork
5.1 | Formwork to sides of column bases girth over 250mm but not exceeding 300mm | m2 | 5 |  | 0
5.2 | Formwork to sides of beams | m2 | 7 |  | 0
5.3 | Formwork to base slab | m2 | 10 |  | 0
5.4 | Formwork to cover slab | m2 | 10 |  | 0
5.5 | Formwork to sides of columns | m2 | 19.4 |  | 0
5.6 | Formwork to sides of walls | m2 | 20 |  | 0
| Sub-Total 5 |  |  |  | 0
6 | Finishes
Cement and sand mortar (1:3) rendering in:
6.1 | 15mm plaster to internal sides of wall with waterproof cement | m2 | 16 |  | 0
6.2 | 12mm plaster to external sides of wall | m2 | 19.47 |  | 0
6.3 | 12mm plaster to cover slab - internal | m2 | 10.62 |  | 0
6.4 | 12mm plaster to cover slab - external | m2 | 12.85 |  | 0
6.5 | 12mm plaster to beams | m2 | 54 |  | 0
6.6 | 12mm plaster to columns | m2 | 24.8 |  | 0
6.7 | 25x25mm Bondex sealing compound | m | 12 |  | 0
| Sub Total 6 |  |  |  | 0
7 | Water Supply Plumbing works
Galvanized Mild Steel pipes class "B" medium thickness with and including jointing, fittings and fixe as described
7.1 | 50mm diameter inlet pipe 800mm long | No | 1 |  | 0
7.2 | 50mm diameter draw off pipe Ditto | No | 1 |  | 0
7.3 | 50mm diameter overflow pipe Ditto | No | 1 |  | 0
7.4 | 75mm diameter scour pipe Ditto | No | 1 |  | 0
7.5 | 20mm diameter brass gate valve with wheel and head | No | 1 |  | 0
7.6 | 20mm diameter stop corks | No | 1 |  | 0
7.7 | 600x600x6mm medium gauge steel primed metal manhole cover on slab with and including metal framing all around | No | 1 |  | 0
7.8 | Provide alluminum Ladder | No | 2 |  | 0
| Sub-Total 7 |  |  |  | 0
| TOTAL COST (Sub Total 1-7) |  |  |  | 0

## 1.4 Water Point
AA
CONSTRUCTION OF WATER SYSTEM
ODWEYNE-GOCODHAALE VILLAGE HAFFIR
BILL OF QUANTITY FOR CONSTRUCTION OF WATER POINT
Notes: The contractor is reminded to visit the site before filling the Request for quotation ascertain the extent of the conditions of site. All quantified works in the Request for quotation are provisional and payment shall be made based on the actual work executed at the site and agreed upon by all parties. The contractor is advised to constantly seek the Engineer instructions at each phase of the work and if required, before filling the Request for quotation. All unit rate shall be deemed to include all elements of supplying and construction work that is labour and other overheads eg security, profit and overheads, cost of materials, wastages, transport etc.
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE (USD) | AMOUNT (USD)
1 | Excavation and Backfilling
1.1 | Clearing and preparation of the site including cutting down and removal of top soil up to a depth of 150mm and disposed of as directed. | M2 | 16 |  | 0
1.2 | Excavation of base foundation trench (2.4x2.8x0.3m deep) | M3 | 2.01 |  | 0
1.3 | Supplying and laying 250 mm approved hardcore filling spread well rammed and compacted | M3 | 1.68 |  | 0
1.4 | Supplying and laying 50 mm approved murram blinding to the hardcore, spread well rammed and compacted | m3 | 0.34 |  | 0
| Sub Total 1 |  |  |  | 0
2 | Concrete and walling Works
2.1 | 50 mm PCC (1:2:4) For RCC Work | M3 | 0.2 |  | 0
2.2 | Stone Masonry Work in 1:4 C/M | M3 | 2.68 |  | 0
2.3 | 20 mm thick Plaster in 1:4 C/M | M2 | 9.45 |  | 0
| Sub Total 2 |  |  |  | 0
3 | Sawn formwork
3.1 | Formwork to edges of floor slab not exceeding 75mm | m2 | 6 |  | 0
Sub Total 3
4 | Plumbing Works |  |  |  | 0
Supply and fix/install the following plumbing components:
4.1 | 2no. HDPE Drain pipe ⱷ 100 mm of 6m long | No | 2 |  | 0
4.2 | 2no. Globe valve ⱷ 50 mm | No | 2 |  | 0
4.3 | 1no. Manhole for Gate Valve with steel cover and lock | No | 1 |  | 0
4.4 | 1no. Brass Union ⱷ 50 mm | No | 1 |  | 0
4.5 | 1no. GI Nipple ⱷ 50 mm | No | 1 |  | 0
4.6 | 1no. GI Pipe ⱷ 50 mm of 6m long | No | 1 |  | 0
4.7 | 2no. GI Elbow ⱷ 50 mm | No | 2 |  | 0
4.8 | 8no. GI Socket ⱷ 50 mm | No | 8 |  | 0
4.9 | 3no. GI Cross ⱷ 50 mm | No | 3 |  | 0
4.1 | 1no. GI Tee ⱷ 50 mm | No | 1 |  | 0
4.11 | 6no. Brass Tap | No | 8 |  | 0
4.2 | Soak away pit located 6meters from the structure. The drainage channel to be linked with soak away pit with a 4inch PVC drainage pipe. The Soak away pit to have 1m Diameter and 1.5metres deep, filled with Hardcore with soil 30 cm thick on a polythene cover material. | No | 1 |  | 0
| Sub Total 4 |  |  |  | 0
| Total for 1No. Unit (Sub Total 1-4) |  |  |  | 0

## 1.5 Transmission Lines
AA
CONSTRUCTION OF WATER SYSTEM - TRANSMISSION AND DISTRIBUTION LINES
HAFFIR - ODWEYNE-GOCODHAALE VILLAGE
BILL OF QUANTITY FOR CONSTRUCTION OF WATER TRANSMISSION AND DISTRIBUTION AND LINES
Notes: The contractor is reminded to visit the site before filling the Request for quotation ascertain the extent of the conditions of site. All quantified works in the Request for quotation are provisional and payment shall be made based on the actual work executed at the site and agreed upon by all parties. The contractor is advised to constantly seek the Engineer instructions at each phase of the work and if required, before filling the Request for quotation. All unit rate shall be deemed to include all elements of supplying and construction work that is labour and other overheads eg security, profit and overheads, cost of materials, wastages, transport etc.
ITEM | DESCRIPTION | UNIT | QUANTITY | RATE (USD) | AMOUNT (USD)
1 | Preliminaries and Pipeline Trench Excavation
1.1 | Allow for bush clearence along the pipeline trench route | m2 | 20 |  | 0
1.2 | Excavation of 100m pipeline trench - 300mm wide and 400mm deep, from the Intake works to Elevated 25m3 Tank to Water Point | m3 | 12 |  | 0
| Sub Total 1 |  |  |  | 0
2 | Rising Main
1.4 | Supplying and laying Rising main 50 mm (2") dia HDPE from the Intake Point to the 25m3 elevated Raw Water Tank | m | 50 |  | 0
| Sub Total 2 |  |  |  | 0
3 | DISTRIBUTION LINES
3.1 | Supply and fix/install HDPE pipes along the Line from 25m3 elevated Raw Water Tank to Community Water Point - 50mm (2") dia | m | 50 |  | 0
| Sub Total 3 |  |  |  | 0
4 | VALVE AND INSPECTION CHAMBERS
Supply materials and \construct Valve chambers (inspection Chambers) measuring 1.1x1.1 m by 1.2m depth., and having lockable manhole cover located at the water point
4.1 | Excavate for foundation commencing at stripped level depth not exceeding 1.0m deep | m3 | 1.9 |  | 0
4.2 | Mass Concrete class 15 (1:3:6) with 20mm thick maximum aggregate size in 50mm thick floor slab | m3 | 0.08 |  | 0
4.3 | 75mm thick precast reinforced concrete cover | m3 | 0.14 |  | 0
4.4 | Walling-sub/Superstructure - 150mm Thick masonry walling in cement and sand mortar (1:3) reinforced with hoop iron strips in every alternate course | m2 | 5.5 |  | 0
4.5 | Cement and sand mortar (1:3) plaster in 20 mm Thick render mixed with Sika or equivalent water proofing admixture to internal walls and floor, and exposed outside wall | m2 | 9.2 |  | 0
| Sub Total - One (1) unit |  |  |  | 0
Sub Total 4 - 2no units
0
5 | FITTINGS AND PLUMBING WORKS
5.1 | Provide and instal 50mm dia Gate Valve at the valve chamber in the distribution line | No. | 1 |  | 0
5.2 | Provide and instal 50mm dia Water meters, next to the Gate Valve in the chamber along the distributiion line at Community Water Point | No. | 1 |  | 0
| Sub Total 5 |  |  |  | 0
| TOTAL (Sub-Total 1-5) |  |  |  | 0

## Impl Plan
ANNEX 3: ODWEYNE - GOCODHAALE HAFFIR - IMPLEMENTATION PLAN FOR THE WATER SUPPLY COMPONENTS
S/N | Activity Description | Month 1 |  |  |  | Month 2 |  |  |  | Month 3
|  | 1 | 2 | 3 | 4 | 1 | 2 | 3 | 4 | 1 | 2 | 3 | 4
1 | Preliminary Activities
1.1 | Procurement and Supply of Materials
1.2 | Mobilization of Personnel and Labour
2 | Implementation of construction Activities
2.1 | Construction of Intake/abstraction point | bar: Month 1 3 to Month 1 4
2.2 | Construction of the Water Treatment Unit
2.3 | Construction of Pump House/Guard Room, including Fencing the compound | bar: Month 1 3 to Month 2 4
2.4 | Construction of Elevated reinforced concrete 25m3 Tank | bar: Month 1 3 to Month 2 4
2.5 | Construction of Elevated 5m3 Plastic Tank
2.6 | Laying of Transmission pipeline and Plumbing Works | bar: Month 2 1 to Month 2 2
2.7 | Construction of Communal Water Point (1no.) | bar: Month 2 4 to Month 3 3
2.8 | Installation of Electromechanical and Solar Pump System (2no)
3 | Supervision, Inspection and Certification | bar: Month 1 3 to Month 3 2